## Table of Contents
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
File Description:
This file includes all tables from the Post Event Report submitted following the October 14 - 16, 2021 De-energization Event
Table of Contents
Section 1 Tables
Section 2 Tables
Section 5 Tables
Section 6 Tables
Section 7 Tables
Section 8 Tables
Section 11 Tables
Section 12 Tables
Appendix

## Section 1 ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Section 1 Tables
Table 1: Customers Notified and De-energized

## Table 1
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 1: Customers Notified and De-energized
Total Customers |  |  | Medical Baseline (MBL) Customers | Number of Counties | Number of Tribes | Number of Circuits |  |  | Damage / Hazard Count | Critical Facilities and Infrastructure De-energized
Notified | De-energized | Cancelled | De-energized | De-energized | De-energized | Transmission De-energized | Unique Distribution Circuits in Any Version of Scope | Distribution Circuits
De-energized
29,114[1] | 666[2] | 28440 | 34 | 1 | 0 | 0 | 109 | 6 | 1 damage | 38
0 hazards
[1] Of the 29,114 customer notifications sent to customers, nine customers received a notice that they may be de-energized, and did not receive a cancellation after being removed from scope.
[2] Of the 666 customers de-energized, 1 customer did not receive any notifications before de-energization. For further detail, please refer to Table 8.

## Section 2 ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Section 2 Tables
Table 2: 2021 PSPS Risk-Benefit Consequence Modelling Considerations

## Table 2
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 2: 2021 PSPS Risk-Benefit Consequence Modelling Considerations
Consequence Type | Wildfire Consequence Considerations | PSPS Consequence Considerations
Safety | Calculated based on maximum population impacts derived from Technosylva wildfire simulation models and a fatality ratio based on National Fire Protection Association (NFPA) data. | Calculated from an estimate of Equivalent Fatalities (EF) per Million Customer Minutes Interrupted (MMCI). EF/MMCI ratio is estimated from previous PG&E PSPS and other large external outage events.[1]
Reliability | N/A | Calculated directly from the potential number of customers impacted and outage duration based on customer minutes interrupted.
Financial | Calculated based on maximum building impacts derived from Technosylva wildfire simulation models and a cost per structure burned previously evaluated in 2020 RAMP Report.[2] | Calculated based on two financial estimates 1) distribution of a lump sum cost of execution across all relevant circuits and 2) an estimated proxy cost per customer per PSPS event.[3]
[1] Previous PG&E PSPS events include 2019-2020 events, and other large external outage events include the 2003 Northeast Blackout in New York City, 2011 Southwest Blackout in San Diego, 2012 Derecho Windstorms, 2012 Superstorm Sandy, and 2017 Hurricane Irma.
[2] See A.20-06-012.
[3] The assumptions used in these calculations, including the proxy cost per customer per PSPS event, are subject to be updated and are not intended to prejudge or create precedent with regard to the development of more precise values of resiliency or cost of PSPS metrics being considered in other ongoing proceedings at the California Public Utilities Commission, such as the Risk-Based Decision-Making Rulemaking [R.20.07.013] and the Microgrid and Resiliency Strategies

## Section 5 ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Section 5 Tables
Table 3: Notification Descriptions
Table 4: Customer Notification Timeline Summary Prior to De-energization for October 14 – 16, 2021 PSPS Event
Table 5: Notifications to Customers where Positive or Affirmative Notification was Attempted
Table 6: Outcomes of Notifications to De-energized Medical Baseline Program Customers
Table 7: Count and Type of Additional Notifications to De-energized Medical Baseline Program Customers
Table 8: Notification Failure Causes

## Table 3
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 3: Notification Descriptions
Type of Notification | Recipients | Description
PRIORITY (ADVANCED NOTIFICATION): 48-72 hours in advance of anticipated de-energization | Public Safety Partners | On 10/11/2021, PG&E’s Meteorology Team noted a potential weather event and updated the weather forecast on pge.com/weather to “elevated” in certain parts of the service territory. At this time, Local PG&E representatives called each County OES in PG&E’s electrical service territory and select cities and Tribes to inform them that PG&E is monitoring an increased potential of a PSPS event. Following PG&E’s activation of its EOC for a potential PSPS event, PG&E completed the following: • Submitted a PSPS State Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E’s EOC has been activated and that PG&E is monitoring for a potential PSPS event. • Sent notifications to other Public Safety Partners[1] via call, text, and e-mail; these notifications include the following information: o Estimated window of the de-energization time. o When weather is anticipated to pass. o Estimated Time of Restoration (ETOR). o For Public Safety Partners Only: Links to the PSPS Portal and website where event-specific maps and information are available.
WATCH NOTIFICATION: 24-48 hours in advance of anticipated de-energization | Public Safety Partners, All Customers (including Medical Baseline program customers and Self-Identified Vulnerable (SIV) customers) | During this time, PG&E completed the following: • Submitted a PSPS State Notification Form to Cal OES and sent an e-mail to the CPUC notifying them of a scope change. • Sent notifications to other Public Safety Partners, and all customers via call, text message, and e-mail; these notifications include the following information: o Potentially impacted addresses (for customers only). o Estimated window of the de-energization time. o When the adverse weather is anticipated to pass. o Estimated Time of Restoration (ETOR). o For Public Safety Partners Only: Links to the PSPS Portal and website where event-specific maps and information is available. o For Customers Only: Links to PSPS Updates webpage with Community Resource Center information, and resources for customers with access and functional needs, including but not limited to information on the Medical Baseline program, Meals on Wheels, language support, and the Portable Battery Program. • Sent notifications to Medical Baseline program customers, including tenants of master metered accounts, and Self-Identified Vulnerable (SIV) customers every hour until the customer confirms receipt of the notification (up to 21:00 PDT or when PG&E halts notifications[2]). • Sent Cancellation Notifications to Public Safety Partners and customers removed from scope; this was to inform them that their power would not be shut off. Customer notifications were provided in English, with information on how to get event information in 15 non-English languages, referred to herein as “translated languages”[3]. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
WARNING NOTIFICATION: 1-4 hours in advance of anticipated de-energization, if possible | Public Safety Partners, All Customers (including Medical Baseline program customers, Self-Identified Vulnerable (SIV) customers) | When forecasted weather conditions showed that a safety shutoff was confirmed, and power would be de-energized in approximately 1-4 hours, PG&E completed the following: • Submitted a PSPS State Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E has made the decision to de-energize. • Sent notifications to other Public Safety Partners, and customers; these notifications include the same key event timing information and resource links as the “Watch Notification”. • Sent notifications to Medical Baseline program customers, including tenants of master metered accounts, and SIV customers every hour until the customer confirms receipt of the notification (up to 21:00 PDT or when PG&E halts notifications). • Sent Cancellation Notifications to Public Safety Partners and customers removed from scope; this was to inform them that power would not be shut off. Customer notifications were provided in English, with information on how to get event information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
POWER OFF NOTIFICATION: When de-energization is initiated | Public Safety Partners, All Customers (including Medical Baseline program customers and Self-Identified Vulnerable (SIV) customers) | When shut-off was initiated, PG&E completed the following: • Submitted a PSPS State Notification Form to Cal OES and sent an e-mail to the CPUC to notify them that power is in the process of being shut off. • Agency Representatives conducted a live call and/or sent an e-mail, as appropriate, to County OES that were within the potential PSPS scope area and select cities and Tribes to inform them that customers within their jurisdiction were beginning to be de-energized. • Sent notification to other Public Safety Partners and customers via phone, text messages, and e-mail, that included: o Impacted addresses (for customers only). o De-energization time. o When the adverse weather is anticipated to pass. o Estimated Time of Restoration (ETOR). o For Customers Only: Links to the PSPS Updates webpage with Community Resource Center information, and resources for customers with access and functional needs, including but not limited to information on the Medical Baseline program, Meals on Wheels, language support, and the Portable Battery Program. Customer notifications were provided in English, with information on how to get event information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
WEATHER “ALL-CLEAR”/ETOR UPDATE NOTIFICATION: Immediately before re-energization begins | Public Safety Partners, All Customers (including Medical Baseline program customers and Self-Identified Vulnerable (SIV) customers) | After the weather event had passed and the area is deemed safe to begin patrols and restoration, PG&E completed the following: • Submitted a PSPS State Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E is initiating re-energization patrols. • Sent notifications to other Public Safety Partners, and customers via phone, text message, and e-mail; these notifications included the ETOR. o Note: Customers can opt out of receiving event update notifications after de-energization has occurred. • Sent “event update” notifications to customers if their ETOR changed; two ways that an ETOR may change include: o New field or meteorology conditions. o Damage was found during patrols and repair is needed. Customer notifications were provided in English, with information on how to get event information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
RESTORATION NOTIFICATION: When re-energization is complete | Public Safety Partners, All Customers (including Medical Baseline program customers and Self-Identified Vulnerable (SIV) customers) | Once customers, including Medical Baseline program customers and SIV customers, were restored, they received notifications via phone, text, and e-mail. This was done using an automated process that issued customer notifications every 15 minutes upon restoration of service. Customer notifications were provided in English, with information on how to get event information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Once all customers were restored, PG&E submitted the final PSPS State Notification Form to Cal OES, sent an e-mail to the CPUC, and sent a notification to Public Safety Partners via phone, text, and e-mail. Public Safety Partner notifications were provided in English
[1] Other Public Safety Partners refers to first/emergency responders at the local, state, and federal level, water, wastewater, and communication service providers, affected community choice aggregators, publicly-owned utilities/electrical cooperatives, the CPUC, the California Governor’s Office of Emergency Services, and the California Department of Forestry and Fire Protection.
[2] For customers potentially impacted by PSPS late at night or overnight, PG&E, did not send automated notifications to customers between the hours of 21:00 PDT and 08:00 PDT as a courtesy in order to prevent waking up the customers in the middle of the night. However, PG&E will send notifications during the hours of 21:00 PDT and 08:00 PDT on a case-by-case basis (e.g., calls to Medical Baseline due to suddenly changing conditions).
[3] Translated languages refers to Spanish, Chinese (Mandarin and Cantonese), Vietnamese, Tagalog, Korean, Russian, Arabic, Punjabi, Farsi, Japanese, Khmer, Hmong, Thai, Hindi, and Portuguese. A language is prevalent if it is spoken by 1,000 or more persons in the utility’s territory or if it’s spoken by 5 percent or more of the population within a “public safety answering point” in the utility territory (D.20-03-004). Details on the community outreach efforts for PSPS and wildfire-related outreach including efforts to reach all languages prevalent in PG&E’s service area can be found in Section 8.4 of PG&E’s Revised 2021 Wildfire Mitigation Plan Report.

## Table 4
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 4: Customer Notification Timeline Summary Prior to De-energization for October 14 – 16, 2021 PSPS Event
Event Order | Minimum Timeline[1] | Notification Sent to: | Approximate Time Sent | Message | Notes
Pre-De-energization (Prior) | 72-48 hours | Local/Tribal Governments and CCAs* | 10/11/2021 11:38 PDT | Advanced
|  | Public Safety Partners** | 10/11/2021 12:05 PDT | Advanced
| 48-24 hours | Local/Tribal Governments and CCAs* | 10/12 2021 9:10 PDT | Watch
|  | Local/Tribal Governments and CCAs* | 10/13/2021 9:12 PDT | Watch
|  | Public Safety Partners** | 10/12/2021 9:34 PDT | Watch
|  | Public Safety Partners** | 10/12/2021 18:01 PDT | Watch
|  | Public Safety Partners** | 10/12/2021 9:33 PDT | Cancel | Only Public Safety Partners removed from scope received the cancel notification.
|  | Public Safety Partners** | 10/13/2021 9:39 PDT | Watch
|  | Public Safety Partners** | 10/13/2021 9:40 PDT | Cancel | Only Public Safety Partners removed from scope received the cancel notification.
|  | Public Safety Partners** | 10/13/2021 11:59 PDT | Watch
|  | Public Safety Partners** | 10/13/2021 12:03 PDT | Cancel | Only Public Safety Partners removed from scope received the cancel notification.
|  | Public Safety Partners** | 10/13/2021 19:15 PDT | Cancel | Only Public Safety Partners removed from scope received the cancel notification.
|  | All Customers*** | 10/12/2021 9:34 PDT | Watch
|  | All Customers*** | 10/12/2021 9:33 PDT | Watch
|  | All Customers*** | 10/12/2021 18:01 PDT | Cancel | Only Customers removed from scope received the cancel notification.
|  | All Customers*** | 10/13/2021 9:39 PDT | Watch
|  | All Customers*** | 10/13/2021 9:40 PDT | Cancel | Only Customers removed from scope received the cancel notification.
|  | All Customers*** | 10/13/2021 11:59 PDT | Watch
|  | All Customers*** | 10/13/2021 12:03 PDT | Cancel | Only Customers removed from scope received the cancel notification.
|  | All Customers*** | 10/13/2021 19:15 PDT | Cancel | Only Customers removed from scope received the cancel notification.
|  | All Customers*** | 10/13/2021 19:17 PDT | Watch
| 4-1 hours | Local/Tribal Governments and CCAs* | 10/13/2021 18:50 PDT | Warning
|  | Local/Tribal Governments and CCAs* | 10/13/2021 9:09 PDT | Cancel | Only Local/Tribal Governments and CCAs removed from scope received the cancel notification.
|  | Local/Tribal Governments and CCAs* | 10/13/2021 10:58 PDT | Cancel | Only Local/Tribal Governments and CCAs removed from scope received the cancel notification.
|  | Local/Tribal Governments and CCAs* | 10/13/2021 18:49 PDT | Cancel | Only Local/Tribal Governments and CCAs removed from scope received the cancel notification.
|  | Local/Tribal Governments and CCAs* | 10/14/2021 10:28 PDT | Cancel | Only Local/Tribal Governments and CCAs removed from scope received the cancel notification.
|  | Local/Tribal Governments and CCAs* | 10/14/2021 19:46 PDT | Warning
|  | Public Safety Partners** | 10/13/2021 19:12 PDT | Warning
|  | Public Safety Partners** | 10/14/2021 10:57 PDT | Cancel | Only Public Safety Partners removed from scope received the cancel notification.
|  | Public Safety Partners** | 10/14/2021 20:06 PDT | Warning
|  | All Customers*** | 10/13/2021 19:12 PDT | Warning
|  | All Customers*** | 10/14/2021 10:57 PDT | Cancel | Only Customers removed from scope received the cancel notification.
|  | All Customers*** | 10/14/2021 20:06 PDT | Warning
Initiation (During) | Immediately before re-energization | Local/Tribal Governments and CCAs* | 10/15/2021 12:49 PDT | Weather All-Clear
|  | Public Safety Partners** | 10/15/2021 13:33 PDT | Weather All-Clear
|  | All Customers*** | 10/15/2021 13:33 PDT | Weather All-Clear
|  | Public Safety Partners** | 10/16/2021 14:45 PDT | ETOR Update
|  | All Customers*** | 10/16/2021 14:45 PDT | ETOR Update
Restoration (After) | After re-energization was completed | Local/Tribal Governments and CCAs* | 10/16/2021 17:17 PDT | Restore
|  | Public Safety Partners** | 10/15/2021 18:03 PDT | Restore | First initial Restoration Notification sent.
|  | Public Safety Partners** | 10/16/2021 17:16 PDT | Restore | Last Restoration Notification sent.
|  | All Customers*** | 10/15/2021 18:03 PDT | Restore | First initial Restoration Notification sent.
|  | All Customers*** | 10/16/2021 17:16 PDT | Restore | Last Restoration Notification sent.
*A subset of Public Safety Partners, including cities, counties, Tribes, and community choice aggregators **A subset of Public Safety Partners, including water, wastewater, and communication service providers ***All Customers, including Medical Baseline program customers and SIV customers
[1] Decision 19-05-042, Appendix A, Timing of Notification.

## Table 5
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 5: Notifications to Customers where Positive or Affirmative Notification was Attempted
Designation | Total Number of customers[1] | Notification Attempts Made[2] | Timing of Attempts[3] | Who made the Notification Attempt | Successful Positive Notification[4]
Medical Baseline[5] | 5108 | 3,131 Watch Notifications | 10/12/21 09:34 PDT | PG&E | 1,861 Watch Notifications
|  | 555 Warning Notifications | 10/13/21 07:59 PDT |  | 370 Warning Notifications
|  | 3,686 Overall Notifications | 10/12/21 09:34 PDT |  | 2,231 Overall Notifications
MBL behind a master meter | 26 | 30 Watch Notifications | 10/12/21 09:34 PDT | PG&E | 17 Watch Notifications
|  | 0 Warning Notifications | N/A |  | 0 Warning Notifications
|  | 30 Overall Notifications | 10/12/21 09:34 PDT |  | 17 Overall Notifications
Access and Functional Needs (AFN)[6] | 1984 | 8,244 Watch Notifications | 10/12/21 09:34 PDT | PG&E | 2,113 Watch Notifications
|  | 1,266 Warning Notifications | 10/13/21 08:18 PDT |  | 432 Warning Notifications
|  | 9,510 Overall Notifications | 10/12/21 09:34 PDT |  | 2,545 Overall Notifications
[1] Total number of customers notified where notification was attempted. Count includes customers that may have been removed from scope or received Cancellation Notifications prior to de-energization, but still received Watch and/or Warning notifications.
[2] Count of Warning Notifications includes doorbell rings and Live Agent phone calls.
[3] Initial start time notification was sent.
[4] PG&E considers successful positive notifications as those in which the notification was successfully delivered to the customer (i.e., no bounce back) and the customer acknowledges receipt of the notification.
[5] Residential tenants of master-metered customers can also qualify for Medical Baseline Quantities. The Medical Baseline category for the purposes of Table 5. Notifications to customers where positive or affirmative notification was attempted does not include Medical Baseline program customers who are master meter tenants.
[6] Access and Functional Needs category includes customers enrolled in CARE or FERA; customers that self-identify to receive an in-person visit before disconnection for non-payment (e.g., vulnerable), customers that self-identify has having a person with a disability in the household (e.g., disabled); customers who self-select to receive utility communications in a non-standard format (e.g., in braille or large print); and customers who indicate a non-English language preference. Although Medical Baseline program customers are considered AFN, for the purposes of Table 5, notifications to customers where positive or affirmative notification was attempted to Medical Baseline program customers are reflected in separate categories.

## Table 6
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 6: Outcomes of Notifications to De-energized Medical Baseline Program Customers
Count | Type of Notifications to De-energized Medical Baseline Customers (based on SPID) | Description
34 | Total De-energized Medical Baseline Customers | The number of customers de-energized who participate in PG&E’s Medical Baseline Program
34 | Total Notifications Attempted / Sent | The total sum of automated notifications attempted via call, text, and e-mail, in-person doorbell ring visit attempts and/or Live Agent phone calls.
0 | Total Notifications Not Attempted / Sent | Total Medical Baseline customers without an attempted notification
34 | Total Notifications Delivered | The total sum of automated notifications sent via phone, text, and e-mail, in-person doorbell ring visit attempts and/or Live Agent phone calls that were executed (i.e., active phone number, deliverable e-mail address, and/or accessible to deliver in-person doorbell ring).
0 | Total Notifications Not Delivered | Total Medical Baseline customers without a delivered notification
32 | Total Notifications Received | Customers who acknowledged their notification by taking one of the following actions: answered an automated or Live Agent phone call, responded to a text message, opened an e-mail, or greeted an in-person doorbell ring (excludes voicemails left, text message delivered only and not confirmed, door hanger left).
2 | Total Notifications Not Received | Total Medical Baseline customers who did not confirm receipt / acknowledge their automated notifications, Live Agent phone calls or in-person doorbell ring. Customers who did not answer a doorbell ring were left a door hanger.

## Table 7
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 7: Count and Type of Additional Notifications to De-energized Medical Baseline Program Customers
Count | Type of Additional Notifications to Impacted Medical Baseline Customers (based on SPID) | Description
111 | Total In-Person Visits / Doorbell Rings | Doorbell ring attempts to impacted Medical Baseline customers where PG&E made contact with the customer (either in person or via phone call in advance of visit) or left a door hanger.[1]
38 | Live Agent Phone Calls | Calls made by Live Agent representatives to Medical Baseline customers that had not yet confirmed receipt of their automated notification or answered the door during PG&E’s in-person visit.
[1] Customers may have confirmed receipt of their notifications in multiple channels (e.g., automated notification and/or doorbell ring); therefore, the counts of total attempted and successful notifications are not mutually exclusive.

## Table 8
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 8: Notification Failure Causes
Notifications Sent to: | Notification Failure Description | Number of Entities or Customer Accounts [1] | Explanation
Public Safety Partners excluding Critical Facilities and Infrastructure[2] | Entities who did not receive 48-to 72-hour advance notification | 0 | N/A
| Entities who did not receive 1–4-hour imminent notification. | 0 | N/A
| Entities who did not receive any notifications before de-energization | 0 | N/A
| Entities who were not notified immediately before re-energization | 0 | N/A
| Entities who did not receive cancellation notification within two hours of the decision to cancel | 11 counties and 1 city | ·PG&E aims to send automated notifications via calls, texts, and e-mails once a jurisdiction has been removed from scope. While we did not send automated notifications to eleven counties and one city within two hours of the decision to remove the jurisdiction from scope, Agency Representatives were in constant coordination with these agencies on event status.
Critical Facilities and Infrastructure[3] | Facilities who did not receive 48–72-hour advance notification[4] | 0 | N/A
| Facilities who did not receive 1–4-hour imminent notifications | 38 | • PG&E does not send automated notifications to customers between the hours of 21:00 and 08:00 PDT as a courtesy to prevent waking customers in the middle of the night. PG&E began sending Warning Notifications prior to 21:00 to these 38 critical facilities and infrastructure customers at 10/13/21 19:12 PDT.
| Facilities who did not receive any notifications before de-energization | 0 | N/A
| Facilities who were not notified at de-energization initiation | 38 | • PG&E does not send automated notifications to customers between the hours of 21:00 and 08:00 PDT as a courtesy to prevent waking customers in the middle of the night. PG&E began sending Warning Notifications prior to 21:00 to these 38 critical facilities and infrastructure customers at 10/13/21 19:12 PDT.
| Facilities who were not notified immediately before re-energization | 0 | N/A
| Facilities who were not notified when re-energization is complete | 0 | N/A
| Facilities who did not receive cancellation notification within two hours of the decision to cancel | 209 | ·This was due to the time required to build out cancellation notification files after the decision had been made to remove the customers from scope. PG&E is reviewing the issues with our processes and is continuing to work on improving our ability to send cancellation notices within two hours of the decision to cancel the de-energization event or removal from scope.
All other affected customers | Customers who did not receive 24–48-hour advance notifications | 1 | ·One customer did not have valid contact information on file during the event.
| Customers who did not receive 1–4-hour imminent notifications | 628 | • PG&E does not send automated notifications to customers between the hours of 21:00 and 08:00 PDT as a courtesy to prevent waking customers in the middle of the night. PG&E began sending Warning Notifications prior to 21:00 to these 627 customers at 10/13/21 19:12 PDT. • One customer did not have valid contact information on file during the event.
| Customers who did not receive any notifications before de-energization | 1 | • One customer did not have valid contact information on file during the event.
| Customers who were not notified at de-energization initiation | 628 | • PG&E does not send automated notifications to customers between the hours of 21:00 and 08:00 PDT as a courtesy to prevent waking customers in the middle of the night. PG&E began sending Warning Notifications prior to 21:00 to these 627 customers at 10/13/21 19:12 PDT. • One customer did not have valid contact information on file during the event.
| Customers who were not notified immediately before re-energization. | 35 | • One customer did not have valid contact information on file during the event. • 33 customers were not notified immediately before re-energization due to data quality issues causing their notifications to be assigned to the wrong PSPS event. • PG&E implemented ad-hoc Weather “All-Clear” Notifications via phone calls for this event. One customer was not notified due to not having a phone number.
| Customers who were not notified when re-energization is complete. | 2 | • One customer did not have valid contact information on file during the event. • PG&E implemented ad-hoc Restoration Notifications via phone calls for this event. One customer was not notified due to not having a phone number.
| Customers who did not receive cancellation notification within two hours of the decision to cancel | 6377 | • This was due to the time required to build out cancellation notification files after the decision had been made to remove the customers from scope. PG&E is reviewing the issues with our processes and is continuing to work on improving our ability to send cancellation notices within two hours of the decision to cancel the de-energization event or removal from scope.
[1] Number of Entities or Customer Accounts for Critical Facilities and Infrastructure Customers and All Other Affected Customers does not take into consideration live agent calls and/or e-mails sent manually by PG&E for this PSPS event. For example, telecommunication service providers may have received an e-mail or phone call from the CIL during the event.
[2] Only includes cities, counties, Tribes, and community choice aggregators
[3] Includes Public Safety Partners who are critical facilities and infrastructure customers
[4] Includes only public safety partners who are critical facilities and infrastructure customers that are required to receive notifications 48-72 hour advanced notification.

## Section 6 ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Section 6 Tables
Table 9: PSPS Portal Time & Date for Map Sharing
Table 10: Customer Notifications Based on Language Preference
Table 11: Call Center Support Services [1]
Table 12: PG&E Website Traffic for October 14 - 16, 2021 PSPS Event
Table 13: Unique Visitors to the Translated Versions of PG&E’s Website for the October 14 - 16, 2021 PSPS Event [1]
Table 14: Unique Visitors to the Translated Versions of PG&E’s Emergency Website for the October 14 - 16, 2021 PSPS Event
Table 15: Generators Available for Critical Facilities and Infrastructure Customers
Table 16: Critical Facility and Infrastructure Customers Energized with Backup Generation

## Table 9
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 9: PSPS Portal Time & Date for Map Sharing
Date | Time PDF Maps Shared | Time GIS Layers Shared
2021-10-11 | 11:16 PDT | 11:17 PDT
2021-10-12 | 06:54 PDT | 07:33 PDT
2021-10-12 | 16:20 PDT | 15:57 PDT
2021-10-13 | 08:54 PDT | 08:58 PDT
2021-10-13 | 10:40 PDT | 10:34 PDT
2021-10-13 | 18:28 PDT | 18:25 PDT
2021-10-14 | 09:59 PDT | 09:56 PDT
2021-10-14 | 19:04 PDT | 19:06 PDT

## Table 10
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 10: Customer Notifications Based on Language Preference
Language | Total Notifications[1] | Percent
English | 1419794 | 99.65%
Spanish | 3714 | 0.26%
Chinese (Mandarin) | 603 | 0.04%
Chinese (Cantonese) | 482 | 0.03%
Vietnamese | 136 | 0.01%
Total | 1424729 | 100%
[1] Total notifications do not include doorbell rings and Live Agent phone calls.

## Table 11
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 11: Call Center Support Services [1]
Total Calls Handled | PSPS Calls Handled | Average Response Time for PSPS-related Calls | Number of calls handled by Call Center Translation Services | Number of languages Supported by Call Center Translation Services
(seconds)
55447 | 1034 | 16 | 5374 | 27
[1] Metrics are provided from October 13, 2021 through October 16, 2021.

## Table 12
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 12: PG&E Website Traffic for October 14 - 16, 2021 PSPS Event
Web Page | Unique Visitors | Visits | Page Views
PG&E’s Website (pge.com) | 546848 | 638757 | 937102
PG&E’s Emergency Website (pgealerts.alerts.pge.com)[1], [2] | 113816 | 153192 | 267477
[1] The PSPS Event Updates page is at the following link: pgealerts.alerts.pge.com/updates. PG&E also uses the following shortened URL for the same site: www.pge.com/pspsupdates.
[2] The emergency website metrics are a subset of the pge.com/ website traffic reported.

## Table 13
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 13: Unique Visitors to the Translated Versions of PG&E’s Website for the October 14 - 16, 2021 PSPS Event [1]
Language | Unique Visitors | Percent
English | 496241 | 91.11%
Spanish | 16397 | 3.01%
Chinese | 3037 | 0.56%
Russian | 2658 | 0.49%
Korean | 2353 | 0.43%
Vietnamese | 2306 | 0.42%
Tagalog | 2269 | 0.42%
Hmong | 2167 | 0.4%
Khmer | 2164 | 0.4%
Portuguese | 2161 | 0.4%
Thai | 2158 | 0.4%
Arabic | 2157 | 0.4%
Hindi | 2155 | 0.4%
Punjabi | 2152 | 0.4%
Farsi | 2151 | 0.39%
Japanese | 2150 | 0.39%
Grand Total[2] | 544676 | 100%
[1] Not all webpages within PG&E’s Website are offered in the translated languages listed. If the language is not included in the selector on the webpage, the visitor can call 1-833-208-4167 for assistance in 250+ other languages.
[2] There is some overlap in unique visitors by language because some visitors viewed webpages in different languages.

## Table 14
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 14: Unique Visitors to the Translated Versions of PG&E’s Emergency Website for the October 14 - 16, 2021 PSPS Event
Language | Unique Visitors | Percent
English | 113392 | 99.58%
Spanish | 349 | 0.31%
Chinese | 67 | 0.06%
Vietnamese | 9 | 0.01%
Russian | 8 | 0.01%
Korean | 7 | 0.01%
Hmong | 7 | 0.01%
Tagalog | 6 | 0.01%
Farsi | 4 | 0%
Portuguese | 4 | 0%
Japanese | 4 | 0%
Punjabi | 4 | 0%
Khmer | 3 | 0%
Hindi | 2 | 0%
Arabic | 2 | 0%
Thai | 1 | 0%
Grand Total[1] | 113869 | 100%
[1] There is some overlap in unique visitors by language because some visitors viewed webpages in different languages.

## Table 15
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 15: Generators Available for Critical Facilities and Infrastructure Customers
Generator Type | Number of Units | Individual Size (MW) | Run Time (Hrs.)[1] | Description
Diesel Generator | 5 | 0.125 | 36 | 5 units on reserve in Sacramento
Diesel Generator | 6 | 0.15 | 30 | 1 unit pre-staged at ICU Hospital, 5 units on reserve in Sacramento
Diesel Generator | 5 | 0.2 | 29 | 1 unit pre-staged at ICU Hospital, 4 units on reserve in Sacramento
Diesel Generator | 2 | 0.3 | 29 | 2 units staged at two ICU Hospitals
Diesel Generator | 4 | 0.35 | 25 | Reserve in Sacramento
Diesel Generator | 1 | 0.4 | 21 | 1 unit pre-staged at ICU Hospital
Diesel Generator | 13 | 0.5 | 23 | 6 units pre-staged at two ICU Hospitals, 7 units on reserve in Sacramento
Diesel Generator | 3 | 1 | 21 | 3 units pre-staged at ICU Hospitals
Diesel Generator | 9 | 1.25 | 20 | 1 unit pre-staged at ICU Hospital, 8 on reserve in Sacramento
Diesel Generator | 1 | 1.5 | 14 | 1 unit pre-staged at ICU Hospital
Diesel Generator | 7 | 2 | 11 | Reserve in Santa Rosa
[1] Estimated based on a 75% load. Barring mechanical failure and refueling the temporary generators have the ability to operate continuously throughout a typical PSPS event.

## Table 16
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 16: Critical Facility and Infrastructure Customers Energized with Backup Generation
County | Site Type | Generation Deployed | Duration of Operation | Reason Deployed
Kern | Water District | 200 kW | 25 hours, 2 minutes | High Risk to environment
Kern | Water District | 50 kW | 43 hours, 32 minutes | High Risk to environment
Tehama | Communications | 150 kW | 3 hours, 37 minutes | High Risk Public Safety
Glen | Community Center | 56 kW | 21 hours, 38 minutes | High Risk to Public Safety

## Section 7 ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Section 7 Tables
Table 17: Number and Nature of Complaints due to the October 14 – 16, 2021 PSPS Event

## Table 17
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 17: Number and Nature of Complaints due to the October 14 – 16, 2021 PSPS Event
Nature of Complaints | Number of Complaints
Communications/Notifications | 32
Including, but not limited to complaints regarding lack of notice, excessive notices, confusing notice, false alarm notice, problems with getting up-to-date information, inaccurate information provided, not being able to get information in the prevalent languages and/or information accessibility, complaints about website, Public Safety Partner Portal, Representational State Transfer (REST)/Digital Asset Manager (DAM) sites (as applicable).
PSPS Frequency/Duration | 69
Including, but not limited to complaints regarding the frequency and/or duration of PSPS events, including delays in restoring power, scope of PSPS and dynamic of weather conditions.
Safety/Health Concern | 26
Including, but not limited to complaints regarding difficulties experienced by AFN/MBL populations, traffic accidents due to non-operating traffic lights, inability to get medical help, well water or access to clean water, inability to keep property cool/warm during outage raising health concern.
General PSPS Dissatisfaction/Other | 46
Including, but not limited to complaints about being without power during PSPS event and related hardships such as food loss, income loss, inability to work/attend school, plus any PSPS-related complaints that do not fall into any other category.
Outreach/Assistance | 7
Including, but not limited to complaints regarding Community Resource Centers, community crew vehicles, backup power, hotel vouchers, other assistance provided by utility to mitigate impact of PSPS.

## Section 8 ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Section 8 Tables
Table 18: Weather All-Clear Times

## Table 18
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 18: Weather All-Clear Times
All-Clear Zones | Weather All-Clear Date and Time
445, 448A in their entirety. In addition, 448B and 651 were approved with the exception of areas on Tejon 1102 downstream of recloser 3760 and Fuse 14928. | 10/15/2021 12:00 PDT
Remainder of 448B and 651 - areas on Tejon 1102 downstream of recloser 3760 and Fuse 14928. | 10/16/2021 15:14 PDT

## Section 11 ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Section 11 Tables
Table 19: Lessons Learned from the PSPS Event

## Table 19
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 19: Lessons Learned from the PSPS Event
Issue | Discussion | Resolution
PG&E faced issues in preparing and cascading the Restoration Playbooks in a timely manner after the Weather “All-clears.” | During the October 11 – 12 PSPS event, some delays were experienced in the preparation of the Restoration Playbooks. This was partly attributable to the back-to-back PSPS events which required the same team members to both produce PSPS scopes for the upcoming October 14 – 16 PSPS event as well as produce Restoration Playbooks for the October 11 – 12 event. Additionally, a lack of familiarity of the updated restoration process was noted by some new team members. | PG&E plans to improve the automation and reduce the cycle time for creating the Restoration Playbooks. Additionally, PG&E is further considering improvements in the cascading process by: • Using verbal communications subsequent to the “All-Clear” meetings to commence patrols. • Using the approved Restoration Playbooks and the information contained therein for re-energization. Additionally, PG&E will continue to train on the updated restoration processes throughout the upcoming year.
Mitigating customer impacts by undertaking targeted Restoration for October 14 – 16 PSPS event. | PG&E strives to mitigate the impacts of PSPS events on its customers. During the October 14 event, PG&E applied a proactive approach to re-energize a majority of customers in the Lebec area. During the October 14 PSPS event, two waves of sustained winds were expected: one commencing early morning on Friday October 15 and subsiding during the day on Friday October 15, and another subsequent wave commencing on the evening of October 15 and lasting through the afternoon of Saturday, October 16. Around mid-day Friday, PG&E’s high resolution Meteorology model guidance showed that only areas in the elevated terrain in Lebec would still exceed minimum fire potential conditions moving forward. Winds were expected to peak again on Friday night into Saturday. However, these winds would mostly remain in the elevated terrain, and were not expected to mix into lower elevations over the next 12 hours. | Based on this Meteorology assessment, PG&E made the decision to re-energize the Tejon 1102 circuit for all but two segments that were in the elevated terrain. Consequently, PG&E was able to re-energize all of the 666 customers, except 33, one day earlier, on Friday October 15 Going forward, PG&E will continue to rely on its Meteorology model guidance to adapt to changing weather conditions and minimize customer impacts.
The process for identifying and including high risk tags into our PSPS scope took longer than expected for both the October 11 – 12 and October 14 – 16 PSPS events. | The Distribution Asset Health Specialist (DAHS) is responsible for determining which line segments need to be brought into scope due for high-risk tags. This new 2021 process includes several rounds of review by the Operations Team to determine which tags can be closed prior to the event, thus removing those lines from scope; this took longer than expected during both the October 11 – 12 and October 14 – 16 PSPS events. | PG&E is working to streamline the process of including and communicating high-risk tags in our PSPS event scopes. Some items highlighted for further investigation included additional coordination between the Distribution Branch Director, the DAHS and the Field Ops Teams as well as the identification of several steps that could be combined if the right people were involved working on them in parallel.
Due to manual edits needed to customer notification files, select customers received Watch Notifications instead of Warning Notifications during the October 11-12 PSPS event. | As the result of manual edits that had to be made to adjust customer files, an undetected error occurred. Approximately 24,800 customers received a Warning Notification with the script used for Watch Notifications instead of the script used for Warning Notifications. Both the Watch and Warning Notification scripts communicate the planned de-energization start time and estimated time of restoration. See Appendix D for a copy of scripts of the Watch and Warning Notifications. | PG&E recognizes the need to notify customers in a timely and accurate manner with correct messaging during PSPS events. The internal tool used for reviewing customer notifications will be enhanced to also enable the review of modified files. Teams responsible for utilizing this tool will be trained on the new enhancements once they are available.

## Section 12 ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Section 12 Tables
Table 20: Maximum Wind Gusts Recorded October 15 – 16, 2021 in Impacted Counties

## Table 20
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table 20: Maximum Wind Gusts Recorded October 15 – 16, 2021 in Impacted Counties
County | Maximum Wind Gust (mph) | Station ID | Station Name
Kern | 47 | PG654 | Digier Road Hilltop

## Appendix ->
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Appendix
Table A-1.1: Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the October 14 – 16, 2021 PSPS Event
Table A-1.2: Description, Units, and Value provided for Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the October 14 – 16, 2021 PSPS Event
Table B-1. Circuits De-Energized During the October 14- 16, 2021 PSPS Event
Table C-1. DAMAGES & HAZARDS FOUND WITHIN THE DE-ENERGIZED AREAS
Table E-1. Public Safety Partners Contacted
Table G-1. Community Resource Centers Provided by PG&E

## Appendix A-1.1
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table A-1.1: Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the October 14 – 16, 2021 PSPS Event
* Please see Table A-1.2 for the description of each column header, as well as the unit and value provided.
** Note: PSPS decision making on Distribution does not occur at a per-circuit level, and instead occurs at the level of our 2 x 2 km weather and fuels model grid. These outputs are used in a GIS system to visualize the areas of concern by area, which meteorologists and Distribution Assets Health Specialists review to scope the event. The data provided here is representative of our high-resolution weather model data, which is driven by the Weather Research and Forecasting model. It is not inclusive of other model information reviewed by meteorologists that include external, public global and high-resolution weather models. This temporal and areal review of the risk, the operational timeline required to create the scope as well as any areas that were added based on subject matter expertise of meteorologists may lead to some circuits being de-energized that do not strictly exceed PSPS guidance.
Circuit Name | cfpd | flame_ | rate_of_ | area_ | ws_ | wg_ | ws_ | temp_ | rh_ | vpd2m_ | dfm_ | dfm_ | dfm_ | lfm_ | lfm_ | lfm_ | prob_ | prob_ | prob_ | sum_ | prob_ | RFW | GACC_ | open_ | transmission_ | Actual | Actual
|  | length_ | spread_ | acres_ | mph | ec_ | mph_ | 2m_f | 2m | mb | 10hr | 100hr | 1000hr | herb | chamise_ | woody | large | cat | large_ | tree_ | ignition |  | HighRisk | psps_ | impacts_ | ws_ | rh_
|  | ft_2hr | chhr_2hr | 8hr |  | mph | 50m | [7 empty] | new |  |  |  | or_cat | ovr |  |  |  | tags | yes_no | mph | min
CAL WATER 1102 | 1.7 | 5 | 42 | 3120 | 15 | 25 | 19 | 83 | 7.1 | 34.7 | 0.047 | 0.073 | 0.071 | 30 | 55.2 | 64.9 | 0.39 | 0.65 | 0.88 | 4 | 0.0003 | No | No | Yes | No | 22 | 9
LAMONT 1104 | 3.1 | 6.1 | 64 | 9008 | 26 | 41 | 36 | 84 | 6.7 | 36.5 | 0.048 | 0.075 | 0.074 | 30 | 59.7 | 64.9 | 0.4 | 0.47 | 0.76 | N/A | 0.001 | No | No | Yes | No | 22 | 9
MAGUNDEN 1108 | 3.5 | 6.1 | 64 | 7162 | 26 | 41 | 36 | 86 | 6.4 | 38.7 | 0.048 | 0.074 | 0.073 | 30 | 59.2 | 64.9 | 0.41 | 0.57 | 0.84 | N/A | 0.0017 | No | No | Yes | No | 22 | 9
SCE TEHACHAPI 1101 | 23.5 | 8 | 74 | 5242 | 23 | 51 | 34 | 78 | 7.4 | 29.6 | 0.052 | 0.078 | 0.075 | 31.3 | 64.6 | 63.4 | 0.34 | 0.78 | 0.93 | 54 | 0.003 | No | No | No | No | 20 | 11
TEJON 1102 | 27.5 | 10.6 | 99 | 18726 | 34 | 59 | 44 | 80 | 7.3 | 30.4 | 0.05 | 0.072 | 0.069 | 30 | 61.2 | 57.9 | 0.41 | 0.81 | 0.96 | 2475 | 0.0038 | No | No | Yes | No | 35 | 2
TEJON 1103 | 1.2 | 5.2 | 46 | 2449 | 13 | 18 | 16 | 83 | 7.3 | 35.3 | 0.053 | 0.075 | 0.073 | 30.2 | 64.6 | 66.2 | 0.39 | 0.41 | 0.74 | 4 | 0.0003 | No | No | Yes | No | 27 | 10

## Appendix A-1.2
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table A-1.2: Description, Units, and Value provided for Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the October 14 – 16, 2021 PSPS Event
Value | Unit | Value provided | Description
cfpd | Scaled Probability | max | The product of probability of catastrophic fire (Prob_Cat) and IPW - probability of ignition (prob_ignition). This product is called the (CFPd) Catastrophic Fire Probability distribution model. Scaled by 1000 to covert to an integer value.
flame_length_ft_2hr | ft | max | Flame length in feet on fire front for first 2 hours of fire spread simulation from Technoslyva.
rate_of_spread_chhr_2hr | Ch/hr. | max | Rate of fire spread in chains per hour for first 2 hours of fire spread simulation from Technoslyva.
area_acres_8hr | acres | max | Acres burned in the 8-hour fire spread simulation from Technoslyva.
ws_mph | mph | max | Sustained windspeed in miles per hour at 10 meters above ground level.
wg_ec_mph | mph | max | Wind gust in miles per hour at 10 meters above ground level.
ws_mph_50m | mph | max | Sustained windspeed in miles per hour at 50 meters above ground level.
temp_2m_f | F | max | Temperature in Fahrenheit at 2 meters above ground level.
rh_2m | % | min | Relative Humidity in percent at 2 meters above ground level.
vpd2m_mb | mb | max | Vapor pressure deficit at 2 meters above ground level in millibars.
dfm_10hr | fuel moisture fraction | min | Dead Fuel Moisture in 10-hour fuel moisture class. Can be scaled to percentage by multiplying by 100.
dfm_100hr |  | min | Dead Fuel Moisture in 100-hour moisture class. Can be scaled to percentage by multiplying by 100.
dfm_1000hr | fuel moisture fraction | min | Dead Fuel Moisture in 1000-hour moisture class. Can be scaled to percentage by multiplying by 100.
lfm_herb | % | min | Live Fuel Moisture Percentage of herbaceous plant species. (% of species that is comprised of water)
lfm_chamise_new | % | min | Live Fuel Moisture Percentage of Chamise (shrub) plant species. (% of species that is comprised of water)
lfm_woody | % | min | Live Fuel Moisture Percentage of woody plant species. (% of species that is comprised of water)
prob_large | Probability | max | Fire Potential Index (FPI) Model Output - Probability of a large fire if an ignition were to occur.
prob_cat | Probability | max | Fire Potential Index (FPI) Model Output - Probability of a catastrophic fire if an ignition were to occur. FPI component of the CFPD model.
prob_large_or_cat | Probability | max | Fire Potential Index (FPI) Model Output - Probability of a large or catastrophic fire if an ignition were to occur. Utilized in the minimum fire potential conditions.
sum_tree_ovr | ft | max | Sum of tree overstrike in a 2 x 2 km grid cell area in ft.
prob_ignition | Probability | max | 2021 Ignition Probability Weather (IPW) Model Output - Probability of Ignition based on the probability of outages by cause. Ignition component of the CFPD model.
RFW | N/A | Yes/No during event | Red Flag Warning from the Federal National Weather Service.
GACC_HighRisk | N/A | Yes/No during event | High Risk issued by the Federal North or South Operations Predictive Services.
open_psps_tags | N/A | Yes/No During Event | PSPS-Qualified Tags include P1 (tree represents an immediate risk) and P2 (tree is damaged or diseased and could fall into nearby power lines) tree tags and Electric Corrective tags (Priority A - emergency, B - urgent, E - risk-based, and H - hardening projects)
transmission_impacts_yes_no | N/A | Yes/No During Event | Distribution lines that would have been de-energized due to de-energization of upstream transmission lines, regardless of whether those distribution lines would have also been de-energized due to direct distribution PSPS.
Actual ws_mph | mph | max | Actual sustained wind speed recorded by weather stations within five miles of weather circuit. Note, this may not be reflective of windspeeds experienced on the circuit.
Actual rh_min | % | min | Actual relative humidity in percent recorded by weather stations within five miles of circuit.

## Appendix B
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table B-1. Circuits De-Energized During the October 14- 16, 2021 PSPS Event
Circuits labeled as “non-HFTD” are located outside of the CPUC High Fire-Threat District (HFTD). These circuits or portions of circuits are impacted for one of two reasons: (1) indirect impacts from transmission lines being de-energized or (2) the non-HFTD portion of the circuit are conductive to the HFTD at some point in the path to service. Circuits with an asterisk (*) were sectionalized during the event to further reduce customer impact. The de-energization date and time represents the time the first customer was de-energized on the circuit and the restoration time represents the date and time of the last customer restored on a circuit by circuit
Distribution / Transmission | Circuit Name | De-Energization Date and Time | All-Clear Date and Time | Restoration Date and Time | Key Communities | HFTD Tier(s) | Total Customers | Residential Customers | Commercial / Industrial Customers | Medical Baseline Customers | AFN other than MBL Customers | Other Customers
Distribution | CAL WATER 1102* | 2021-10-15 01:00 | 2021-10-15 12:00 | 2021-10-15 15:38 | KERN | Partially Outside HFTD, Tier 2 | 13 | 0 | 10 | 0 | 0 | 3
Distribution | LAMONT 1104* | 2021-10-15 01:09 | 2021-10-15 12:00 | 2021-10-15 15:10 | KERN | Tier 2 | 2 | 0 | 1 | 0 | 0 | 1
Distribution | MAGUNDEN 1108* | 2021-10-15 01:05 | 2021-10-15 12:00 | 2021-10-15 15:12 | KERN | Partially Outside HFTD, Tier 2 | 38 | 20 | 9 | 0 | 1 | 9
Distribution | SCE TEHACHAPI 1101* | 2021-10-15 01:16 | 2021-10-15 12:00 | 2021-10-15 14:26 | KERN | Tier 2 | 3 | 2 | 1 | 0 | 2 | 0
Distribution | TEJON 1102* | 2021-10-15 01:07 | 2021-10-16 15:14 | 2021-10-16 16:32 | KERN | Partially Outside HFTD, Tier 2 | 595 | 479 | 103 | 34 | 161 | 13
Distribution | TEJON 1103* | 2021-10-15 01:00 | 2021-10-15 12:00 | 2021-10-15 14:46 | KERN | Partially Outside HFTD, Tier 2 | 15 | 4 | 10 | 0 | 0 | 1
Total | [6 empty] | 666 | 505 | 134 | 34 | 164 | 27

## Appendix C
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table C-1. DAMAGES & HAZARDS FOUND WITHIN THE DE-ENERGIZED AREAS
Circuit Name | County | Structure Identifier | Tier 2/3 or Non-HFTD | Damage / Hazard | Type of Damage / Hazard | Description of Damage
TEJON 1102 | Kern | 103775928 | Tier 2 | Damage | Vegetation | A tree branch broke and fell on a customer's service causing damage to the service and weatherhead.

## Appendix E
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table E-1. Public Safety Partners Contacted
Organization/Jurisdiction | Title | HFTD Tier | Date/Time Contacted
Alameda County CCA | GENERAL | Tier 2, Tier 3, Zone 1 | 10/13/2021 9:09 PDT
Alpine County | OES STAFF | Tier 2, Zone 1 | 10/11/2021 11:40 PDT
Amador County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Butte County | ASSISTANT DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | CAO | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL CAL FIRE | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | GENERAL SERVICES DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | OES DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | PROBATION OFFICER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | PUBLIC HEALTH DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | SHERIFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Butte County | OES DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:55 PDT
Butte County Communication Facility | AT&T MOBILITY | Tier 3 | 10/11/2021 12:05 PDT
Butte County Communication Facility | AT&T MOBILITY LLC | Tier 3 | 10/11/2021 12:05 PDT
Butte County Communication Facility | GTE MOBILNET OF CALIFORNIA LP | Tier 3 | 10/11/2021 12:05 PDT
Butte County Communication Facility | SPRINT CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Butte County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Butte County Emergency Services Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 3 | 10/11/2021 12:05 PDT
Butte County Emergency Services Facility | COUNTY OF BUTTE | Tier 3 | 10/11/2021 12:05 PDT
Butte County Other Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 3 | 10/11/2021 12:05 PDT
Butte County Other Facility | CHRISTOPHERSON,JEFF | Tier 3 | 10/11/2021 12:05 PDT
Butte County Other Facility | PORTER, BRUCE | Tier 3 | 10/11/2021 12:05 PDT
Butte County Water And Waste Water Facility | ENTERPRISE RANCHERIA | Tier 2 | 10/11/2021 12:05 PDT
Colusa County | DEPUTY CHIEF | Tier 2 | 10/11/2021 11:38 PDT
Colusa County | DIRECTOR | Tier 2 | 10/11/2021 11:38 PDT
Colusa County | DIVISION CHIEF | Tier 2 | 10/11/2021 11:38 PDT
Colusa County | GENERAL | Tier 2 | 10/11/2021 11:38 PDT
Colusa County | MHOAC | Tier 2 | 10/11/2021 11:38 PDT
Colusa County | OES LIEUTENANT | Tier 2 | 10/11/2021 11:38 PDT
Colusa County | OES STAFF | Tier 2 | 10/11/2021 11:55 PDT
Colusa County | OES STAFF | Tier 2 | 10/11/2021 11:55 PDT
Colusa County Communication Facility | FRONTIER COMMUNICATIONS CORPORATION DIP | Tier 2 | 10/11/2021 12:05 PDT
Colusa County Communication Facility | AT&T SERVICES INC | Tier 2 | 10/11/2021 12:05 PDT
Colusa County Communication Facility | AT&T MOBILITY LLC | Tier 2 | 10/11/2021 12:05 PDT
Colusa County Communication Facility | GTE MOBILNET OF CALIFORNIA LP | Tier 2 | 10/11/2021 12:05 PDT
Colusa County Communication Facility | AT&T | N/A | 10/11/2021 12:05 PDT
Colusa County Emergency Services Facility | COUNTY OF COLUSA | N/A | 10/11/2021 12:05 PDT
Colusa County Energy Sector Facility | CITY OF SANTA CLARA | Tier 2 | 10/11/2021 12:05 PDT
Colusa County Other Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 2 | 10/11/2021 12:05 PDT
Colusa County Water And Waste Water Facility | COUNTY OF COLUSA | Tier 2 | 10/11/2021 12:05 PDT
Contra Costa County | BATTALION CHIEF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | CHAIR OF THE BOARD | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | CHIEF OF STAFF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | COUNTY ADMINISTRATOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | DIRECTOR OF PUBLIC AFFAIRS | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | DUTY OFFICER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | EMERGENCY PLANNING COORDINATOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | FIRE CHIEF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | MHOAC | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | OES DIRECTOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | REPRESENTATIVE | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County | OES STAFF | Tier 2, Tier 3 | 10/11/2021 12:06 PDT
Contra Costa County | OES STAFF | Tier 2, Tier 3 | 10/11/2021 12:06 PDT
Contra Costa County | OES STAFF | Tier 2, Tier 3 | 10/11/2021 12:06 PDT
Contra Costa County CCA | GENERAL | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Contra Costa County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Contra Costa County Communication Facility | COUNTY OF CONTRA COSTA | Tier 3 | 10/11/2021 12:05 PDT
Contra Costa County Communication Facility | U S COAST GUARD | Tier 3 | 10/11/2021 12:05 PDT
Contra Costa County Emergency Services Facility | SAN RAMON VALLEY FIRE DISTRICT | Tier 3 | 10/11/2021 12:05 PDT
El Dorado County | SERGEANT | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:50 PDT
El Dorado County | LIETENANT | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:50 PDT
El Dorado County | OES OFFICER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:50 PDT
Fresno County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 12:00 PDT
Fresno County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 12:00 PDT
Fresno County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 12:00 PDT
Glenn County | COUNTY ADMINISTRATIVE OFFICER | Tier 2 | 10/11/2021 11:38 PDT
Glenn County | DEPUTY DIRECTOR OES | Tier 2 | 10/11/2021 11:38 PDT
Glenn County | FIRE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
Glenn County | GENERAL | Tier 2 | 10/11/2021 11:38 PDT
Glenn County | PLANNING DIRECTOR; DESIGNATED POC | Tier 2 | 10/11/2021 11:38 PDT
Glenn County | SHERIFF | Tier 2 | 10/11/2021 11:38 PDT
Glenn County | OES STAFF | Tier 2 | 10/11/2021 11:35 PDT
Glenn County Communication Facility | AT&T MOBILITY | Tier 2 | 10/11/2021 12:05 PDT
Glenn County Communication Facility | GTE MOBILE NET | Tier 2 | 10/11/2021 12:05 PDT
Glenn County Communication Facility | AMERICAN TOWER CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Glenn County Communication Facility | AT&T SERVICES INC | Tier 2 | 10/11/2021 12:05 PDT
Glenn County Emergency Services Facility | COUNTY OF GLENN | Tier 2 | 10/11/2021 12:05 PDT
Glenn County Emergency Services Facility | ELK CREEK FIRE DISTRICT | Tier 2 | 10/11/2021 12:05 PDT
Glenn County Water And Waste Water Facility | ELK CREEK COMMUNITY SERVICE | Tier 2 | 10/11/2021 12:05 PDT
Grindstone Rancheria | CHAIRMAN | N/A | 10/11/2021 11:38 PDT
Grindstone Rancheria | TRIBAL SECRETARY | N/A | 10/11/2021 11:38 PDT
Humboldt County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 13:51 PDT
Humboldt County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 13:54 PDT
Humboldt County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 13:57 PDT
Humboldt County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 14:00 PDT
Humboldt County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 14:03 PDT
Humboldt County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 14:06 PDT
Humboldt County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 13:57 PDT
Humboldt County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:07 PDT
Humboldt County CCA | GENERAL | Tier 2, Tier 3, Zone 1 | 10/13/2021 9:09 PDT
Kern County | CAO; DESIGNATED POC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | EMERGENCY | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | EMERGENCY | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | EMERGENCY SUPERVISOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | FIRE CHIEF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | HISTORIC PRESERVATION OFFICER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | MANAGER; DESIGNATED POC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | TRIBAL CHAIRMAN | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Kern County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Kern County Communication Facility | AMERICAN TOWER CORPORATION | Tier 2 | 10/12/2021 9:34 PDT
Kern County Communication Facility | GTE MOBILNET OF CALIFORNIA LIMITED PARTNERSHIP | Tier 2 | 10/11/2021 12:05 PDT
Kern County Communication Facility | SPRINT NEXTEL CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Kern County Communication Facility | T-MOBILE WEST LLC | Tier 2 | 10/11/2021 12:05 PDT
Kern County Communication Facility | AT&T SERVICES INC | Tier 2 | 10/11/2021 12:05 PDT
Kern County Communication Facility | AT&T MOBILITY LLC | Tier 2 | 10/11/2021 12:05 PDT
Kern County Emergency Services Facility | CALIFORNIA HIGHWAY PATROL | Tier 2 | 10/11/2021 12:05 PDT
Kern County Emergency Services Facility | COUNTY OF KERN | Tier 2 | 10/11/2021 12:05 PDT
Kern County Water And Waste Water Facility | LEBEC COUNTY WATER DISTRICT | Tier 2 | 10/11/2021 12:05 PDT
Kings County | DISPATCH | Tier 2 | 10/11/2021 11:38 PDT
Kings County | OES STAFF | Tier 2 | 10/11/2021 12:00 PDT
Kings County | OES STAFF | Tier 2 | 10/11/2021 12:00 PDT
Lake County | BATTALION CHIEF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | CHAIR OF THE BOARD | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | COUNTY ADMINISTRATIVE OFFICER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | DEPUTY CHIEF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | DISPATCH | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | DIVISION CHIEF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | LIEUTENANT | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | MHOAC | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | OES EMERGENCY DIRECTOR; DESIGNATED POC | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | SHERIFF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | SPECIAL DISTRICTS ADMINISTRATOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Lake County | OES STAFF | Tier 2, Tier 3 | 10/11/2021 11:50 PDT
Lake County | OES STAFF | Tier 2, Tier 3 | 10/11/2021 11:50 PDT
Lake County Communication Facility | US CELLULAR | Tier 2 | 10/12/2021 9:34 PDT
Lake County Communication Facility | AT&T MOBILITY LLC | Tier 2 | 10/11/2021 12:05 PDT
Lake County Communication Facility | GTE MOBILNET OF CALIFORNIA LIMITED PARTNERSHIP | Tier 2 | 10/12/2021 9:34 PDT
Lake County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Lake County Communication Facility | MEDIACOM CALIFORNIA LLC | N/A | 10/11/2021 12:05 PDT
Lake County Communication Facility | GTE MOBILNET OF CALIFORNIA LP | Tier 3 | 10/11/2021 12:05 PDT
Lassen County | CAL FIRE | Tier 2, Zone 1 | 10/11/2021 11:38 PDT
Lassen County | OES STAFF | Tier 2, Zone 1 | 10/11/2021 12:00 PDT
Madera County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:39 PDT
Marin County | CEO | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Mariposa County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:39 PDT
Mendocino County | CEO | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Mendocino County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 12:01 PDT
Merced County | OES STAFF | Tier 2 | 10/11/2021 11:39 PDT
Merced County | OES STAFF | Tier 2 | 10/11/2021 11:39 PDT
Monterey County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Monterey County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Monterey County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Mooretown Rancheria | CASINO OPERATIONS | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Mooretown Rancheria | CHAIRMAN | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Mooretown Rancheria | TRIBAL ADMINISTRATOR | Tier 2, Tier 3 | 10/12/2021 9:10 PDT
Mooretown Rancheria | TRIBAL ENFORCEMENT | Tier 2, Tier 3 | 10/12/2021 9:10 PDT
Napa County | CAPTAIN | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | CAPTAIN | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | COUNTY EXECUTIVE OFFICER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | EMERGENCY SERVICES MANAGER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | GIS | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | LNU COMMAND CENTER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | NAPA COUNTY FIRE CHIEF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | NAPA COUNTY FIRE OPERATIONS CHIEF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | SHERIFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | UNDER-SHERIFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Napa County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Napa County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Napa County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Napa County Communication Facility | GTE MOBILNET OF CALIFORNIA LIMITED PARTNERSHIP | N/A | 10/11/2021 12:05 PDT
Napa County Communication Facility | SPRINT NEXTEL CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Napa County Communication Facility | GTE MOBILNET OF CALIFORNIA LP | Tier 2 | 10/11/2021 12:05 PDT
Napa County Communication Facility | T-MOBILE WEST CORPORATION | Tier 3 | 10/11/2021 12:05 PDT
Napa County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Napa County Communication Facility | CITY OF NAPA | Tier 3 | 10/11/2021 12:05 PDT
Napa County Communication Facility | T-MOBILE WEST LLC | Tier 3 | 10/11/2021 12:05 PDT
Napa County Communication Facility | CALIFORNIA HIGHWAY PATROL | Tier 2 | 10/11/2021 12:05 PDT
Napa County Communication Facility | AT&T MOBILITY LLC | Tier 3 | 10/11/2021 12:05 PDT
Napa County Communication Facility | SPRINT CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Napa County Emergency Services Facility | COUNTY OF NAPA | Tier 3 | 10/11/2021 12:05 PDT
Napa County Emergency Services Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 3 | 10/11/2021 12:05 PDT
Napa County Emergency Services Facility | NAPA COUNTY DEPARTMENT OF PUBLIC WORKS | N/A | 10/11/2021 12:05 PDT
Napa County Other Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 3 | 10/11/2021 12:05 PDT
Nevada County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:50 PDT
Pit River Tribes | CHAIRMAN | Tier 2 | 10/11/2021 11:38 PDT
Pit River Tribes | CHAIRPERSON | Tier 2 | 10/11/2021 11:38 PDT
Pit River Tribes | OES DIRECTOR | Tier 2 | 10/11/2021 11:38 PDT
Pit River Tribes | TRIBAL HOUSING AUTHORITY | Tier 2 | 10/11/2021 11:38 PDT
Pit River Tribes | TRIBAL LEADER | Tier 2 | 10/11/2021 11:38 PDT
Placer County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:50 PDT
Plumas County | CAL FIRE | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | CAO; DESIGNATED POC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | DISPATCH | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | DIVISION CHIEF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | MAIN OFFICE | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | OES DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | USFS PNF DISPATCH | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Plumas County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:55 PDT
Plumas County Communication Facility | CALIFORNIA HIGHWAY PATROL | Tier 2 | 10/11/2021 12:05 PDT
Plumas County Communication Facility | SPRINT CORPORATION | Tier 3 | 10/11/2021 12:05 PDT
Plumas County Communication Facility | US DEPARTMENT OF AGRICULTURE | Tier 2 | 10/11/2021 12:05 PDT
Plumas County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Plumas County Energy Sector Facility | CITY OF SANTA CLARA | Tier 3 | 10/11/2021 12:05 PDT
Sacramento County | OES STAFF | Tier 2 | 10/11/2021 15:20 PDT
San Benito County | OES STAFF | Tier 2 | 10/11/2021 11:52 PDT
San Benito County | OES STAFF | Tier 2 | 10/11/2021 11:52 PDT
San Benito County | OES STAFF | Tier 2 | 10/11/2021 11:52 PDT
San Luis Obispo County | CHAIRPERSON | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
San Luis Obispo County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:56 PDT
San Luis Obispo County Communication Facility | AT&T MOBILITY | Tier 2 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | AT&T WIRELESS SERVICES | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | METRO PCS INC | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | GTE MOBILNET OF CALIFORNIA LIMITED PARTNERSHIP | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | CHARTER COMMUNICATIONS HOLDING COMPANY LLC | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | AT&T MOBILITY LLC | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | AT&T WIRELESS SERVICE LLC | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | T-MOBILE WEST LLC | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | SPRINT CORPORATION | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | GTE MOBILNET OF CALIFORNIA LP | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | AMERICAN TOWER CORPORATION | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Communication Facility | SPRINT NEXTEL CORPORATION | Tier 3 | 10/11/2021 12:05 PDT
San Luis Obispo County Emergency Services Facility | CALIFORNIA HIGHWAY PATROL | Tier 2 | 10/11/2021 12:05 PDT
San Luis Obispo County Other Facility | AT&T SO CAL PROP MGMT | Tier 2 | 10/11/2021 12:05 PDT
Santa Barbara County | CHAIRPERSON | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Santa Barbara County | COUNTY EXECUTIVE OFFICER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Santa Barbara County | ENERGY MANAGER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Santa Barbara County | FACILITIES MANAGER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Santa Barbara County | FIRE CHIEF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Santa Barbara County | OEM DUTY OFFICER (24-HOUR) | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Santa Barbara County | OES DIRECTOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Santa Barbara County | SHERIFF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Santa Barbara County | OES STAFF | Tier 2, Tier 3 | 10/11/2021 11:58 PDT
Santa Barbara County Communication Facility | FRONTIER COMMUNICATIONS CORPORATION DIP | Tier 3 | 10/11/2021 12:05 PDT
Santa Clara County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 13:00 PDT
Santa Cruz County | DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:46 PDT
Shasta County | CEO; DESIGNATED POC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | CHIEF, COUNTY FIRE WARDEN | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | CHIEF, NORTHERN OPERATIONS | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | DISTRICT DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | ECC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | FIRE CHIEF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | LIEUTENANT | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | OES ASSISTANT DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | OES DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | SHERIFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | SUPERVISOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | SUPERVISOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | UNDERSHERIFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Shasta County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Shasta County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Shasta County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:50 PDT
Shasta County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:50 PDT
Shasta County Communication Facility | AT&T MOBILITY LLC | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | SPRINT NEXTEL CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | TDS TELECOM | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | GTE MOBILNET OF CALIFORNIA LIMITED PARTNERSHIP | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | GTE MOBILNET OF CALIFORNIA LP | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | CINGULAR WIRELESS SERVICES, INC | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | METRO PCS INC | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | CHARTER COMMUNICATIONS HOLDING COMPANY LLC | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | HAPPY VALLEY TELEPHONE CO | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | FRONTIER COMMUNICATIONS CORPORATION DIP | Tier 3 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | SPRINT CORPORATION | Tier 3 | 10/11/2021 12:05 PDT
Shasta County Communication Facility | US DEPARTMENT OF AGRICULTURE | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Emergency Services Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Emergency Services Facility | US DEPARTMENT OF AGRICULTURE | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Emergency Services Facility | COUNTY OF SHASTA | Tier 2 | 10/11/2021 12:05 PDT
Shasta County Other Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 3 | 10/11/2021 12:05 PDT
Shasta County Other Facility | HAPPY VALLEY TELEPHONE CO | N/A | 10/11/2021 12:05 PDT
Shasta County, Trinity County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Sierra County | CHAIR OF THE BOARD | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | DISPATCH SUPERVISOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | FIRE CHIEF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | FIRE CHIEF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | HEALTH OFFICER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | OES COORDINATOR; DESIGNATED POC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | OES DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | SHERIFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | SUPERINTENDENT | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | SUPERVISOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | SUPERVISOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sierra County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:55 PDT
Sierra County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Sierra County Communication Facility | AT&T MOBILITY LLC | Tier 3 | 10/11/2021 12:05 PDT
Sierra County Communication Facility | CALIFORNIA HIGHWAY PATROL | Tier 3 | 10/11/2021 12:05 PDT
Sierra County Communication Facility | US DEPARTMENT OF AGRICULTURE | Tier 3 | 10/11/2021 12:05 PDT
Sierra County Emergency Services Facility | DOWNIEVILLE FIRE DISTRICT | Tier 3 | 10/11/2021 12:05 PDT
Sierra County Emergency Services Facility | SIERRA CITY FIRE PROTECTION DISTRICT | Tier 2 | 10/11/2021 12:05 PDT
Sierra County Energy Sector Facility | HENWOOD ASSOCIATE INC | Tier 2 | 10/11/2021 12:05 PDT
Sierra County Government - Jail Facility | COUNTY OF SIERRA | Tier 3 | 10/11/2021 12:05 PDT
Sierra County Other Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Sierra County Other Facility | SIERRA CITY FIRE DEPT AUXILIARY | Tier 2 | 10/11/2021 12:05 PDT
Sierra County Water And Waste Water Facility | DOWNIEVILLE PUBLIC UTILITIES DISTRICT | Tier 3 | 10/11/2021 12:05 PDT
Sierra County Water And Waste Water Facility | HASKELL CREEK TRACT ASSOCIATION | Tier 1 | 10/11/2021 12:05 PDT
Solano County | CHAIR OF THE BOARD | Tier 2 | 10/11/2021 11:38 PDT
Solano County | COUNTY ADMINISTRATOR | Tier 2 | 10/11/2021 11:38 PDT
Solano County | EMERGENCY | Tier 2 | 10/11/2021 11:38 PDT
Solano County | EMERGENCY | Tier 2 | 10/11/2021 11:38 PDT
Solano County | EMERGENCY | Tier 2 | 10/11/2021 11:38 PDT
Solano County | FIRE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
Solano County | LOCAL CAL FIRE | Tier 2 | 10/11/2021 11:38 PDT
Solano County | MHOAC | Tier 2 | 10/11/2021 11:38 PDT
Solano County | SHERIFF | Tier 2 | 10/11/2021 11:38 PDT
Solano County | OES STAFF | Tier 2 | 10/11/2021 12:13 PDT
Solano County Communication Facility | SPRINT CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Solano County Communication Facility | AT&T SERVICES INC | Tier 2 | 10/11/2021 12:05 PDT
Solano County Communication Facility | AMERICAN TOWER CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Solano County Communication Facility | AT&T MOBILITY LLC | Tier 2 | 10/11/2021 12:05 PDT
Solano County Communication Facility | AMERICAN TOWER CORP | Tier 2 | 10/11/2021 12:05 PDT
Solano County Communication Facility | GTE MOBILNET OF CALIFORNIA LIMITED PARTNERSHIP | Tier 2 | 10/11/2021 12:05 PDT
Solano County Communication Facility | T-MOBILE WEST LLC | Tier 2 | 10/11/2021 12:05 PDT
Solano County Communication Facility | T-MOBILE WEST CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Solano County Emergency Services Facility | VACAVILLE FIRE PROTECTION DISTRICT | Tier 2 | 10/12/2021 9:34 PDT
Sonoma County | CHAIR OF THE BOARD | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | CHAIRPERSON | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | COMMUNICATIONS & ENGAGEMENT COORDINATOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | COMMUNICATIONS & ENGAGEMENT COORDINATOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | COMMUNITY ALERT & WARNING MANAGER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | COSTAL VALLEYS EMS | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | COUNTY ADMINISTRATOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | DIRECTOR OF CUSTOMER CARE | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | EMERGENCY COORDINATOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | EMERGENCY MANAGER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | EMS DISPATCH | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | MAIN OFFICE | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | OES DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | PUBLIC HEALTH OFFICER | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | SHERIFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | SHERIFF DISPATCH | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | SHERIFF'S LIAISON | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County | DEPUTY DIRECTOR | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County CCA | GENERAL | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:38 PDT
Sonoma County Communication Facility | T-MOBILE USA | Tier 3 | 10/12/2021 9:34 PDT
Sonoma County Communication Facility | FRONTIER COMMUNICATIONS CORPORATION DIP | Tier 3 | 10/11/2021 12:05 PDT
Sonoma County Communication Facility | AT&T | Tier 3 | 10/12/2021 9:34 PDT
Sonoma County Communication Facility | CALIFORNIA HIGHWAY PATROL | Tier 2 | 10/12/2021 9:34 PDT
Sonoma County Communication Facility | SPRINT CORPORATION | Tier 3 | 10/11/2021 12:05 PDT
Sonoma County Communication Facility | GTE MOBILNET OF CALIFORNIA LIMITED PARTNERSHIP | Tier 2 | 10/11/2021 12:05 PDT
Sonoma County Communication Facility | T-MOBILE WEST LLC | Tier 2 | 10/11/2021 12:05 PDT
Sonoma County Communication Facility | AT&T MOBILITY LLC | Tier 3 | 10/11/2021 12:05 PDT
Sonoma County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Sonoma County Emergency Services Facility | COUNTY OF SONOMA | Tier 3 | 10/11/2021 12:05 PDT
Sonoma County Other Facility | CITY OF PETALUMA | N/A | 10/12/2021 9:34 PDT
Stanislaus County | LOCAL CAL FIRE | Tier 2 | 10/11/2021 11:38 PDT
Stanislaus County | OES STAFF | Tier 2 | 10/11/2021 12:13 PDT
Stanislaus County Communication Facility | FEDERAL BUREAU OF INVESTIGATION | N/A | 10/11/2021 12:05 PDT
Sutter County | OES STAFF | N/A | 10/11/2021 15:05 PDT
Tehama County | ADMINISTRATIVE ANALYST | Tier 2 | 10/11/2021 11:38 PDT
Tehama County | CAL FIRE TEHAMA-GLENN | Tier 2 | 10/11/2021 11:38 PDT
Tehama County | CAO; DESIGNATED POC | Tier 2 | 10/11/2021 11:38 PDT
Tehama County | COMMUNICATIONS SUPERVISOR | Tier 2 | 10/11/2021 11:38 PDT
Tehama County | OES DEPUTY DIRECTOR | Tier 2 | 10/11/2021 11:38 PDT
Tehama County | OES DIRECTOR | Tier 2 | 10/11/2021 11:38 PDT
Tehama County | OES STAFF | Tier 2 | 10/11/2021 11:50 PDT
Tehama County Communication Facility | AT&T SERVICES INC | Tier 2 | 10/11/2021 12:05 PDT
Tehama County Communication Facility | FRONTIER COMMUNICATIONS CORPORATION DIP | Tier 2 | 10/11/2021 12:05 PDT
Tehama County Communication Facility | AT&T MOBILITY | Tier 2 | 10/11/2021 12:05 PDT
Tehama County Emergency Services Facility | COUNTY OF TEHAMA | Tier 2 | 10/11/2021 12:05 PDT
Tehama County Emergency Services Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 2 | 10/11/2021 12:05 PDT
Tehama County Government - Jail Facility | CALIFORNIA DEPARTMENT OF CORRECTIONS | Tier 2 | 10/11/2021 12:05 PDT
Tehama County Other Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 2 | 10/11/2021 12:05 PDT
The City Of Anderson | CHIEF TREATMENT PLANT OPERATOR | Tier 2 | 10/11/2021 11:38 PDT
The City Of Anderson | CITY MANAGER | Tier 2 | 10/11/2021 11:38 PDT
The City Of Anderson | DEPUTY PUBLIC WORKS DIRECTOR | Tier 2 | 10/11/2021 11:38 PDT
The City Of Anderson | FIRE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
The City Of Anderson | LIEUTENANT | Tier 2 | 10/11/2021 11:38 PDT
The City Of Anderson | POLICE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
The City Of Anderson | PUBLIC WORKS SUPERINTENDENT | Tier 2 | 10/11/2021 11:38 PDT
The City Of Bakersfield | CITY HALL; DESIGNATED POC | Tier 2 | 10/12/2021 9:10 PDT
The City Of Bakersfield | DEPUTY CHIEF | Tier 2 | 10/12/2021 9:10 PDT
The City Of Bakersfield | DEPUTY CHIEF | Tier 2 | 10/12/2021 9:10 PDT
The City Of Bakersfield | DEPUTY CHIEF | Tier 2 | 10/12/2021 9:10 PDT
The City Of Bakersfield | GENERAL; DESIGNATED POC | Tier 2 | 10/12/2021 9:10 PDT
The City Of Bakersfield | GENERAL; DESIGNATED POC | Tier 2 | 10/12/2021 9:10 PDT
The City Of Corning | CITY MANAGER; DESIGNATED POC | N/A | 10/11/2021 11:38 PDT
The City Of Fairfield | CITY MANAGER | Tier 2 | 10/11/2021 11:38 PDT
The City Of Fairfield | EMERGENCY | Tier 2 | 10/11/2021 11:38 PDT
The City Of Fairfield | FIRE CHIEF; DESIGNATED POC | Tier 2 | 10/11/2021 11:38 PDT
The City Of Fairfield | GENERAL | Tier 2 | 10/11/2021 11:38 PDT
The City Of Fairfield | MAYOR | Tier 2 | 10/11/2021 11:38 PDT
The City Of Fairfield | POLICE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
The City Of Gridley | DIVISION CHIEF, GRIDLEY FIRE CHIEF | N/A | 10/11/2021 11:38 PDT
The City Of Hercules | CITY MANAGER | Tier 2 | 10/11/2021 11:38 PDT
The City Of Hercules | FIRE CHIEF; DESIGNATED POC | Tier 2 | 10/11/2021 11:38 PDT
The City Of Hercules | GENERAL | Tier 2 | 10/11/2021 11:38 PDT
The City Of Hercules | POLICE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
The City Of Oroville | CITY MANAGER; DESIGNATED POC | Tier 2 | 10/11/2021 11:38 PDT
The City Of Oroville | DEPUTY CHIEF | Tier 2 | 10/11/2021 11:38 PDT
The City Of Oroville | MAYOR | Tier 2 | 10/11/2021 11:38 PDT
The City Of Oroville | POLICE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
The City Of Oroville | VICE MAYOR | Tier 2 | 10/11/2021 11:38 PDT
The City Of Red Bluff | FIRE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
The City Of Saint Helena | CITY MANAGER; DESIGNATED POC | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
The City Of Saint Helena | FIRE CHIEF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
The City Of San Francisco | EMERGENCY PREPAREDNESS MANAGER | Tier 2 | 10/11/2021 11:38 PDT
The City Of Sonoma | ASSISTANT CITY MANAGER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
The City Of Sonoma | FIRE CHIEF; DESIGNATED POC | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
The City Of Sonoma | INTERIM CITY MANAGER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
The City Of Sonoma | MAYOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
The City Of Sonoma | POLICE CHIEF | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
The City Of Sonoma | PUBLIC WORKS DIRECTOR/CITY ENGINEER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
The City Of Vacaville | ASSISTANT CITY MANAGER | Tier 2 | 10/11/2021 11:38 PDT
The City Of Vacaville | CITY MANAGER | Tier 2 | 10/11/2021 11:38 PDT
The City Of Vacaville | EMERGENCY | Tier 2 | 10/11/2021 11:38 PDT
The City Of Vacaville | GENERAL | Tier 2 | 10/11/2021 11:38 PDT
Trinity County | PUBLIC SAFETY ANSWERING POINT | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Trinity County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:45 PDT
Trinity County Communication Facility | FRONTIER COMMUNICATIONS CORPORATION DIP | Tier 2 | 10/11/2021 12:05 PDT
Tulare County | OES STAFF | Tier 2, Tier 3, Zone 1 | 10/11/2021 11:50 PDT
Yocha Dehe Wintun Nation | BATTALION CHIEF | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | CHAIRMAN | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | COMMUNICATIONS DIRECTOR | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | DISPATCH | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | EMERGENCY MANAGER | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | ENVIRONMENTAL DIRECTOR | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | FIRE CHIEF | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | HEALTH REPRESENTATIVE | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | INFRASTRUCTURE TEAM | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | TRIBAL ADMINISTRATOR | Tier 2 | 10/13/2021 18:50 PDT
Yocha Dehe Wintun Nation | VP OF SECURITY | Tier 2 | 10/13/2021 18:50 PDT
Yolo County | BOARD CLERK/ADMINISTRATIVE ANALYST | Tier 2 | 10/11/2021 11:38 PDT
Yolo County | DIRECTOR CUSTOMER CARE AND MARKETING | Tier 2 | 10/11/2021 11:38 PDT
Yolo County | DISPATCH | Tier 2 | 10/11/2021 11:38 PDT
Yolo County | FIRE CHIEF | Tier 2 | 10/11/2021 11:38 PDT
Yolo County | GENERAL | Tier 2 | 10/11/2021 11:38 PDT
Yolo County | MHOAC | Tier 2 | 10/11/2021 11:38 PDT
Yolo County | NON-EMERGENCY | Tier 2 | 10/11/2021 11:38 PDT
Yolo County | OES COORDINATOR | Tier 2 | 10/11/2021 11:38 PDT
Yolo County | OES STAFF | Tier 2 | 10/11/2021 15:00 PDT
Yolo County CCA | GENERAL | Tier 2 | 10/11/2021 11:38 PDT
Yolo County Communication Facility | AT&T MOBILITY LLC | Tier 2 | 10/11/2021 12:05 PDT
Yolo County Communication Facility | AT&T SERVICES INC | N/A | 10/11/2021 12:05 PDT
Yolo County Communication Facility | SPRINT CORPORATION | Tier 2 | 10/11/2021 12:05 PDT
Yolo County Communication Facility | GTE MOBILNET OF CALIFORNIA LP | Tier 2 | 10/11/2021 12:05 PDT
Yolo County Emergency Services Facility | CAPAY VALLEY FIRE DISTRICT | N/A | 10/12/2021 9:34 PDT
Yuba County | BOARD SUPERVISOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | CHAIRPERSON | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | COUNTY EXECUTIVE OFFICER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | DIRECTOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | EMERGENCY MANAGER ; DESIGNATED POC | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | GENERAL | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | HEALTH ADMINISTRATOR | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | HEALTH OFFICER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | INTERM EMERGENCY OPERATIONS MANAGER | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | LOCAL CAL FIRE | Tier 2, Tier 3 | 10/11/2021 11:38 PDT
Yuba County | OES STAFF | Tier 2, Tier 3 | 10/11/2021 11:55 PDT
Yuba County Communication Facility | AT&T SERVICES INC | Tier 3 | 10/11/2021 12:05 PDT
Yuba County Communication Facility | GTE MOBILNET OF CALIFORNIA LP | Tier 3 | 10/11/2021 12:05 PDT
Yuba County Communication Facility | VERIZON | Tier 3 | 10/11/2021 12:05 PDT
Yuba County Communication Facility | AT&T MOBILITY | Tier 3 | 10/11/2021 12:05 PDT
Yuba County Communication Facility | AT&T MOBILITY LLC | Tier 3 | 10/11/2021 12:05 PDT
Yuba County Emergency Services Facility | DOBBINS & OREGON HOUSE FIRE PROTECTION DISTRICT | Tier 3 | 10/11/2021 12:05 PDT
Yuba County Emergency Services Facility | LOMA RICA & BROWNS VALLEY FIRE STATION | Tier 2 | 10/11/2021 12:05 PDT
Yuba County Other Facility | CALIFORNIA DEPARTMENT OF FORESTRY | Tier 2 | 10/11/2021 12:05 PDT

## Appendix G
Post-Event Report Data: PG&E October 14 - 16, 2021 De-energization Event
Table G-1. Community Resource Centers Provided by PG&E
# | County | Site Name | Address | Operating Hours (PDT) |  |  | Total Visitors | Indoor / Micro / Mobile | Amenities Provided
|  |  |  | Day 1 | Day 2 | Day 3
|  |  |  | 2021-10-14 | 2021-10-15 | 2021-10-16
1 | Butte | Paradise Parks and Recreation Center (aka Terry Ashe Center) | 6626 Skyway, Paradise, CA 95969 | 08:00 - 09:30 | N/A | N/A | 38 | Indoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging, Cooling & Heating, Ice
2 | Butte | Southside Oroville Community Center | 2959 Lower Wyandotte Rd, Oroville, CA 95966 | 08:00 - 09:30 | N/A | N/A | 0 | Indoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging, Cooling & Heating, Ice
3 | Colusa | Stonyford Community Center/Hall | 229 Market St, Stonyford, CA 95979 | 08:00 - 12:00 | N/A | N/A | 5 | Indoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging, Cooling & Heating, Ice
4 | Glenn | Elk Creek Junior Senior High School | 3430 Co Rd 309, Elk Creek, CA 95939 | 08:00 - 10:30 | N/A | N/A | 2 | Micro | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
5 | Kern | Lebec Post Office | 2132 Lebec Road, Lebec, CA 93243 | 08:00 - 22:00 | 08:00 - 22:00 | 08:00 18:30 | 273 | Mobile | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
6 | Napa | Highways 128/121 and Steele Canyon | 6003 Monticello Rd, Napa, CA 94558 | 08:00 - 09:30 | N/A | N/A | 0 | Mobile | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
7 | Shasta | Hill Country Health and Wellness Center | 29632 CA-299, Round Mountain, CA 96084 | 08:00 - 10:30 | N/A | N/A | 20 | Micro | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
8 | Solano | Solano Community College - Vacaville | 2001 N Village Pkwy, Vacaville, CA 95688 | 08:00 - 09:30 | N/A | N/A | 0 | Indoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging, Cooling & Heating, Ice
9 | Solano | Green Valley Golf Course | 35 Country Club Road, Fairfield, CA 94534 | 08:00 - 09:30 | N/A | N/A | 0 | Mobile | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
10 | Tehama | Rancho Tehama Association | 17605 Park Terrace Road, Corning, CA 96021 | 08:00 - 10:30 | N/A | N/A | 9 | Micro | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
11 | Yolo | United States Postal Service | 7575 CA-16, Guinda, CA 95637 | 08:00 - 09:30 | N/A | N/A | 0 | Mobile | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging