## Table 1
Table 1: Customers Notified and De-energized
Total Customers1 |  |  | MBL Customers | Counties | Tribes | Circuits |  |  | Damage/Hazard Count | Critical Facilities and Infrastructure De-energized
Notified | De-energized | Cancelled | De-energized | De-energized | De-energized | Transmission De-energized | Unique Distribution Circuits in Any Version of Scope | Distribution Circuits De-energized
6441 | 0 | 6441 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0
1 The "Total Number of Customers," based on SPIDs, does not include streetlights.

## Table 2
Table 2: Notification Descriptions
Type of Notification | Recipients | Description
PRIORITY NOTIFICATION: 48-72 hours in advance of anticipated de-energization | Public Safety Partners and CBOs | Following PG&E’s activation of its EOC, the following notifications were completed: • PG&E submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E’s EOC had been activated and that PG&E was monitoring for potential PSPS. • PG&E sent notifications to other Public Safety Partners via call, text and e-mail; these notifications included the following information:
o Estimated window of the de-energization time
o When weather is anticipated to pass.
o Estimated Time of Restoration (ETOR).
o Links to the PSPS Portal where event-specific maps and information are available.
•Local PG&E representatives called potentially impacted County OES and select Tribes to inform them that PG&E was monitoring an increased potential of PSPS.
WATCH NOTIFICATION: 24-48 hours in advance of anticipated de-energization | Public Safety Partners, CBOs, and All Customers (including MBL program customers and SIV customers) | During this time, the following was completed:
• PG&E submitted a PSPS Notification Form to Cal OES.
• PG&E sent notifications to other Public Safety Partners, and all customers via call, text message and e-mail; these notifications included the following information:
o Estimated window of the de-energization time.
o When the adverse weather is anticipated to pass.
o ETOR.
o For Public Safety Partners only: Links to the PSPS Portal.
o For Customers only: Potentially impacted addresses, links to PSPS Updates webpage with CRC information, and resources for AFN customers, including but not limited to information on the MBL program, language support, and the Portable Battery Program.
• PG&E sent notifications to MBL program customers, including tenants of master metered accounts, and SIV customers every hour until the customer confirmed receipt of the notification. • PG&E also sent Cancellation Notifications to Public Safety Partners and customers within two hours of being removed from scope; this was to inform them that power would not be shut off. Customer notifications were provided in English, with information on how to get PSPS information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English. Public Safety Partner notifications were provided in English.
CANCELLATION NOTIFICATION: Within 2-hours of decision to cancel | Public Safety Partners, CBOs, All Customers (including MBL program customers, SIV customers) | When it was determined that de-energization was not needed for safety, the following was completed: • PG&E submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC. • PG&E sent notifications to other Public Safety Partners, customers and MBL program customers, including tenants of master metered accounts, and SIV customers; these notifications included confirmation that they would no longer be de-energized, along with PG&E information resource links. Customer notifications were provided in English, with information on how to receive PSPS information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.

## Table 3
Table 3: Customer Notification Timeline Summary
Event Order | Minimum Timeline9 | Notification Sent to: | Approximate Time Sent (PST) | Message | Notes | Who made the Notification
Pre-De-energization (Prior) | 72-48 hours | Tribal/Local Governments and CCAs* | 7/3/2024 8:36 AM | Priority |  | PG&E
|  | Public Safety Partners** | 7/3/2024 8:17 AM | Priority |  | PG&E
| 48-24 hours | Tribal/Local Governments and CCAs* | 7/3/2024 6:24 PM | Watch |  | PG&E
|  | Public Safety Partners** | 7/3/2024 5:50 PM | Watch |  | PG&E
|  | All Customers*** | 7/3/2024 5:49 PM | Watch |  | PG&E
| 12-24 hours10 | Tribal/Local Governments and CCAs* | 7/4/2024 1:10 PM | Watch |  | PG&E
|  | Public Safety Partners** | 7/4/2024 1:37 PM | Watch |  | PG&E
|  | All Customers*** | 7/4/2024 1:35 PM | Watch |  | PG&E
| 4-1 hours | Tribal/Local Governments and CCAs* | 7/5/2024 8:16 AM | Warning |  | PG&E
|  | Public Safety Partners** | 7/5/2024 8:16 AM | Warning |  | PG&E
|  | All Customers*** | 7/5/2024 8:23 AM | Warning |  | PG&E
Cancellation | Within 2-hours of decision to cancel | Tribal/Local Governments and CCAs* | 7/4/2024 12:45 PM | Cancel | Only Tribal/Local Governments and CCAs removed from scope received the cancel notification | PG&E
|  | Tribal/Local Governments and CCAs* | 7/5/2024 8:40 PM | Cancel | Only Tribal/Local Governments and CCAs removed from scope received the cancel notification | PG&E
|  | Public Safety Partners** | 7/4/2024 12:47 PM | Cancel | Only Public Safety Partners removed from scope received the cancel notification. The decision to descope these customers was 7/4/2024 at 11:40 AM. | PG&E
|  | All Customers*** | 7/4/2024 12:47 PM | Cancel | Only Customers removed from scope received the cancel notification. The decision to descope these customers was made 7/4/2024 at 11:40 AM. | PG&E
|  | Public Safety Partners** | 7/5/2024 7:28 PM | Cancel | Only Public Safety Partners removed from scope received the cancel notification. The decision to descope these customers was made 7/5/2024 at 7:02 PM. | PG&E
|  | All Customers*** | 7/5/2024 7:28 PM | Cancel | Only Customers removed from scope received the cancel notification. The decision to descope these customers was made 7/5/2024 at 7:02 PM. | PG&E
9D.19-05-042.
10 While not a CPUC requirement, PG&E provides an additional 24-12 hour notification to Tribal/Local Governments, Public Safety Partners and Customers.

## Table 4
Table 4: Notifications to Customers where Positive or Affirmative Notification was Attempted11
Designation | Total Number of customers12 | Notification Attempts Made13 | Timing of Attempts14 | Who made the Notification Attempt | Successful Positive Notification15
MBL16 | 233 | 233 Watch Notifications | 07/03/ 2024 6:05 PM | PG&E | 204 Watch Notifications
|  | 60 Warning Notifications | 07/04/ 2024 9:29AM |  | 24 Warning Notifications
|  | 293 Overall Notifications | 07/03/ 2024 6:05 PM |  | 228 Overall Notifications
MBL behind a master meter17 | 1 | 1 Watch Notifications | 07/03/2024 6:21 PM | PG&E | 0 Watch Notifications
|  | 1 Warning Notifications | 07/05/2024 8:55AM |  | 0 Warning Notifications
|  | 2 Overall Notifications | 07/03/2024 6:21 PM |  | 0 Overall Notifications
SIV | 87 | 86 Watch Notifications | 07/03/2024 5:52 PM | PG&E | 78 Watch Notifications
|  | 38 Warning Notifications | 07/04/2024 10:04 AM |  | 29 Warning Notifications
|  | 124 Overall Notifications | 07/03/2024 5:52 PM |  | 107 Overall Notifications
11Counts of Notification Attempts Made will not reflect the actual total of customers notified as both MBL and SIV customers can appear in both subset groups.
12Total number of customers notified where notification was attempted. Count includes customers that may have been removed from scope or received Cancellation Notifications prior to de-energization, but still received Watch and/or Warning notifications.
13Count of Warning Notifications includes doorbell rings and Live Agent phone calls.
14Initial start time notification was sent.
15PG&E considers successful positive notifications as those in which the notification was successfully delivered to the customer (i.e., no bounce back) and the customer acknowledges receipt of the notification.

## Table 5
Table 5: Notification Failure Causes
Notifications Sent to | Notification Failure Description | Number of Entities or Customer Account | Explanation of Failure
Public Safety Partners excluding Critical Facilities and Infrastructure24 | Entities who did not receive 48-to 72-hour priority notification | None de-energized. | No failures.
| Entities who did not receive 1–4-hour imminent notification | None de-energized. | No failures.
| Entities who did not receive any notifications before de-energization | None de-energized. | No failures.
| Entities who were not notified immediately before re-energization | None de-energized. | No failures.
| Entities who did not receive cancellation notification within two hours of the decision to cancel | 0 | No failures.
Critical Facilities and Infrastructure25 | Facilities who did not receive 48-to 72-hour priority notification | None de-energized. | No failures.
| Facilities who did not receive 1–4-hour imminent notification | None de-energized. | No failures.
| Facilities who did not receive any notifications before de-energization | None de-energized. | No failures.
| Facilities who were not notified immediately before de-energization initiation | None de-energized. | No failures.
| Facilities who were not notified immediately before re-energization | None de-energized. | No failures.
| Facilities who were not notified when re-energization is complete | None de-energized. | No failures.
| Facilities who did not receive cancellation notification within two hours of the decision to cancel | 0 | No failures.
All other affected customers | Customers who did not receive 24–48-hour priority notifications | None de-energized. | No failures.
| Customers who did not receive 1–4-hour imminent notifications | None de-energized. | No failures.
| Customers who did not receive any notifications before de-energization | None de-energized. | No failures.
| Customers who were not notified at de-energization initiation | None de-energized. | No failures.
| Customers who were not notified immediately before re-energization | None de-energized. | No failures.
| Customers who were not notified when re-energization is complete | None de-energized. | No failures.
| Customers who did not receive cancellation notification within two hours of the decision to cancel | 0 | No failures.
24 Only includes Tribes, cities, counties, and CCAs.
25 Includes Public Safety Partners who are critical facilities and infrastructure customers.

## Table 6
Table 6: PSPS Portal Time & Date for Map Sharing
Date | Time PDF and GIS Maps Shared (PDT)
2024-07-03 | 07:56
2024-07-03 | 17:15
2024-07-04 | 11:56
2024-07-05 | 07:35

## Table 7
Table 7: PSPS Notifications Submitted to Cal OES
Date | Time
2024-07-03 | 09:1128
2024-07-03 | 14:58
2024-07-04 | 6:59
2024-07-04 | 10:37
2024-07-04 | 14:45
2024-07-04 | 18:23
28Notification was sent to the CPUC from PG&E but were not delivered due to incorrect email address.

## Table 8
Table 8: PSPS Notifications Submitted to Cal CPUC
Date | Time
2024-07-03 | 08:01 PDT29
2024-07-04 | 12:27 PDT
2024-07-05 | 08:35 PDT
2024-07-05 | 19:29 PDT
29Notification was sent to the CPUC from PG&E but were not delivered due to incorrect email address.

## Table 9
Table 9: Customer Notifications Based on Language Preference
Language | Total Notifications39 | Percent
English | 148476 | 99.1%
Spanish | 1354 | 0.9%
Total | 149830 | 100%
39Total notifications do not include doorbell rings and Live Agent phone calls.

## Table 10
Table 10: Call Center Support Services40
Total Calls Handled | PSPS Calls Handled | Average Response Time for PSPS-related Calls (seconds) | Number of calls handled by Call Center Translation Services | Number of languages Supported by Call Center Translation Services
6066 | 21 | 2 | 355 | 240
40 Metrics are provided from July 5, 2024, through July 6, 2024

## Table 11
Table 11 Number and Nature of Complaints due to the Potential July 5 – 6, 2024 PSPS 42
Nature of Complaints | Number of Complaints
Communications/Notifications Including, but not limited to complaints regarding lack of notice, excessive notices, confusing notice, false alarm notice, problems with getting up-to-date information, inaccurate information provided, not being able to get information in the prevalent languages and/or information accessibility, complaints about website, Public Safety Partner Portal, Representational State Transfer (REST)/Digital Asset Manager (DAM) sites (as applicable). | 9
PSPS Frequency/Duration Including, but not limited to complaints regarding the frequency and/or duration of PSPS events, including delays in restoring power, scope of PSPS and dynamic of weather conditions. | 5
Safety/Health Concern Including, but not limited to complaints regarding difficulties experienced by AFN/MBL populations, traffic accidents due to non-operating traffic lights, inability to get medical help, well water or access to clean water, inability to keep property cool/warm during outage raising health concern. | 11
General PSPS Dissatisfaction/Other Including, but not limited to complaints about being without power during PSPS and related hardships such as food loss, income loss, inability to work/attend school, plus any PSPS-related complaints that do not fall into any other category. | 10
Outreach/Assistance Including, but not limited to complaints regarding Community Resource Centers, community crew vehicles, backup power, hotel vouchers, other assistance provided by utility to mitigate impact of PSPS. | 1
42PG&E reports PSPS complaints based on the CPUC-issued PSPS Post-Event Report template. Further complaints details will be provided in the 2024 PSPS Post-Season Report.

## Table A-1.1
Table A-1.1: Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the July 5 – 6, 2024 PSPS
Circuit Name | Time Place | Forecast | [18 empty] | Agency |  |  |  | Observed
|  | ws_ mph | ws_ mph_ 50m | wg_ ec_ mph | temp | flame_ length_ ft_2hr | rate_ of_ spread | area_ acres_ 8hr | rh_ 2m | vpd2m_mb | prob_cat | dfm_ 10hr | dfm_ 100hr | dfm_ 1000hr | lfm_ herb | lfm_ woody | lfm_ chamise_new | sum_ tree ovr | prob_ ignition | cfpd | HWW | HWA | RFW | GACC_High Risk | Observed ws_mph | Observed wg_ mph | Observed temp_f | Observed RH_% | Observed ws_mph_AC | Observed wg_mph_AC | Observed temp_f_AC | Observed RH_%_AC | open_psps_tags | Tx_impacts_yes_no | PSPS Potential Risk Consequence1 | PSPS Potential Benefit1
[5 empty] | _2m_f |  | _chhr
JOLON 1102 | TP11 | 24 | 32 | 43 | 113 | 12.4 | 107.7 | 6602.8 | 7.2 | 90.7 | 0.973 | 0.022 | 0.046 | 0.065 | 34 | 71 | 84 | 474.1 | 0.0007224 | 5.9 | No | No | No | No | 20 | 29 | 111 | 7 | 12 | 15 | 87 | 19 | Yes | No | N/A | N/A
KING CITY 1102 | TP04 | 22 | 26 | 37 | 108 | 11.6 | 147.8 | 43230 | 9.8 | 75.5 | 0.88 | 0.026 | 0.055 | 0.073 | 36 | 78 | 83 | -99 | 0.0006347 | 2.4 | No | No | No | No | 14 | 24 | 98 | 23 | 2 | 3 | 58 | 79 | Yes | No | N/A | N/A
KING CITY 1103 | TP10 | 22 | 26 | 37 | 110 | 12.5 | 85.5 | 9144.5 | 8.9 | 79.9 | 0.986 | 0.023 | 0.047 | 0.067 | 41 | 67 | 83 | 1839.9 | 0.0005448 | 4.3 | No | No | No | No | 18 | 24 | 110 | 9 | 2 | 4 | 89 | 18 | Yes | No | N/A | N/A
KING CITY 1106 | TP05 | 22 | 25 | 36 | 111 | 12.9 | 177.3 | 43824 | 9.7 | 83.9 | 0.876 | 0.023 | 0.059 | 0.077 | 32 | 78 | 82 | -99 | 0.000611 | 2.5 | No | No | No | No | 16 | 24 | 105 | 11 | 4 | 7 | 89 | 17 | Yes | No | N/A | N/A
LOS COCHES 1101 | TP08 | 24 | 28 | 40 | 104 | 12.4 | 75.9 | 6067.7 | 11.6 | 64.8 | 0.948 | 0.028 | 0.051 | 0.068 | 44 | 77 | 87 | 1310.7 | 0.0006389 | 2.3 | No | No | No | No | 24 | 31 | 89 | 38 | 4 | 5 | 54 | 96 | Yes | No | N/A | N/A
LOS OSITOS 2101 | TP02 | 26 | 30 | 43 | 110 | 12.2 | 139.8 | 38884 | 7.2 | 80.3 | 0.965 | 0.021 | 0.043 | 0.063 | 35 | 75 | 84 | -99 | 0.001439 | 6.4 | No | No | No | No | 24 | 31 | 105 | 7 | 4 | 7 | 72 | 35 | Yes | No | N/A | N/A
LOS OSITOS 2102 | TP10 | 23 | 28 | 40 | 107 | 12 | 124.6 | 32559 | 10.6 | 69.4 | 0.946 | 0.031 | 0.058 | 0.075 | 38 | 75 | 84 | 75.6 | 0.0008934 | 3.6 | No | No | No | No | 24 | 31 | 110 | 9 | 2 | 3 | 65 | 56 | Yes | No | N/A | N/A
LOS OSITOS 2103 | TP09 | 24 | 29 | 41 | 110 | 13.9 | 123.9 | 31425 | 7.7 | 61.6 | 0.972 | 0.022 | 0.047 | 0.068 | 37 | 67 | 84 | 1807.5 | 0.0012407 | 5 | No | No | No | No | 24 | 31 | 111 | 4 | 5 | 7 | 87 | 16 | Yes | No | N/A | N/A
OILFIELDS 1102 | TP12 | 20 | 24 | 35 | 113 | 12.5 | 155.7 | 35789 | 7.1 | 90.6 | 0.915 | 0.027 | 0.06 | 0.077 | 34 | 77 | 82 | -99 | 0.0003645 | 2.8 | No | No | No | No | 22 | 29 | 108 | 10 | 2 | 4 | 65 | 52 | Yes | No | N/A | N/A
OILFIELDS 1103 | TP12 | 25 | 32 | 39 | 114 | 12.4 | 155.3 | 31177 | 6.4 | 91.9 | 0.952 | 0.023 | 0.049 | 0.066 | 35 | 74 | 82 | 4752.3 | 0.0005088 | 3.4 | No | No | No | No | 22 | 31 | 113 | 4 | 12 | 15 | 87 | 19 | Yes | No | N/A | N/A
PANOCHE 1103 | TP15 | 21 | 28 | 35 | 113 | 12.2 | 137 | 35081 | 6.4 | 88.8 | 0.955 | 0.017 | 0.036 | 0.052 | 30 | 76 | 73 | 1265.6 | 0.0003664 | 2.9 | No | No | No | No | 14 | 20 | 111 | 4 | 10 | 14 | 93 | 11 | Yes | No | N/A | N/A
SAN ARDO 1101 | TP07 | 21 | 25 | 35 | 113 | 12 | 141.1 | 27391 | 7.8 | 88.4 | 0.901 | 0.032 | 0.07 | 0.086 | 34 | 78 | 82 | -99 | 0.0003714 | 2 | No | No | No | No | 10 | 18 | 105 | 12 | 4 | 5 | 60 | 65 | Yes | No | N/A | N/A
SAN ARDO 1102 | TP06 | 23 | 25 | 35 | 113 | 12.8 | 169.5 | 39933 | 7 | 88.4 | 0.972 | 0.021 | 0.043 | 0.062 | 33 | 78 | 82 | -99 | 0.0004773 | 3.3 | No | No | No | No | 15 | 23 | 106 | 11 | 5 | 8 | 89 | 17 | Yes | No | N/A | N/A
SAN MIGUEL 1104 | TP14 | 20 | 26 | 35 | 114 | 10.5 | 109.3 | 15748 | 6.3 | 92.5 | 0.87 | 0.023 | 0.048 | 0.068 | 35 | 79 | 83 | 881 | 0.000584 | 1.9 | No | No | No | No | 18 | 27 | 111 | 7 | 6 | 7 | 71 | 47 | Yes | No | N/A | N/A
SAN MIGUEL 1105 | TP12 | 20 | 26 | 33 | 114 | 11.3 | 124.6 | 9072.6 | 6.2 | 93.3 | 0.803 | 0.027 | 0.064 | 0.078 | 34 | 79 | 82 | -99 | 0.0004606 | 1.9 | No | No | No | No | 18 | 27 | 110 | 9 | 6 | 7 | 71 | 49 | Yes | No | N/A | N/A
SAN MIGUEL 1106 | TP12 | 26 | 34 | 41 | 114 | 11.3 | 134.1 | 22190 | 6.2 | 91.9 | 0.937 | 0.023 | 0.049 | 0.067 | 32 | 76 | 82 | 719.4 | 0.00053 | 3.4 | No | No | No | No | 20 | 31 | 110 | 4 | 6 | 7 | 71 | 47 | Yes | No | N/A | N/A
SOLEDAD 2101 | TP01 | 26 | 30 | 44 | 106 | 11.9 | 158.3 | 33916 | 10.2 | 57.1 | 0.879 | 0.025 | 0.051 | 0.07 | 38 | 72 | 84 | 240.8 | 0.0011528 | 4.3 | No | No | No | No | 24 | 34 | 111 | 6 | 5 | 5 | 88 | 23 | Yes | No | N/A | N/A
SOLEDAD 2102 | TP08 | 23 | 27 | 38 | 101 | 13.3 | 70.7 | 8923.8 | 12.2 | 52.5 | 0.962 | 0.029 | 0.05 | 0.067 | 44 | 75 | 87 | 869.3 | 0.000435 | 2.4 | No | No | No | No | 24 | 34 | 93 | 28 | 4 | 5 | 57 | 93 | Yes | No | N/A | N/A
SOLEDAD 2014 | TP01 | 22 | 25 | 40 | 100 | 11.4 | 147.1 | 11003 | 16.4 | 55.2 | 0.876 | 0.042 | 0.079 | 0.093 | 37 | 76 | 85 | 12.6 | 0.0006417 | 2.6 | No | No | No | No | 24 | 34 | 93 | 26 | 4 | 5 | 57 | 92 | Yes | No | N/A | N/A
1PG&E did not de-energize customers, therefore, this field is not applicable.

## Table A-1.2
Table A-1.2: Description, Units, and Value provided for Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the July 5 – 6, 2024 PSPS Event
Forecast / Agency / |  |  |  | Value Provided
Observed | Value | Name | Unit |  | Description
Observed | Observed wg_mph | Observed Peak Wind Gust during Event | mph | max | The maximum wind gust recorded by weather stations mapped to each circuit from planned de-energization time to anticipated all- clear time.
Observed | Observed temp_f | Observed Temperature during Event | degrees F | max | The maximum temperature recorded by weather stations mapped to each circuit from planned de-energization time to anticipated all-clear time.
Observed | Observed RH_% | Observed Relative Humidity During Event | % | min | Minimum relative humidity recorded by all weather stations mapped to each circuit from planned de-energization time to anticipated all-clear time.
Observed | Observed ws_mph_AC | Observed Sustained Wind Speed at All Clear | mph | max | The maximum sustained wind speed recorded by weather stations mapped to each circuit at the all-clear time. Please note, N/A as PG&E did not de-energize customers during the July 5 – 6 Weather Event.
Observed | Observed wg_mph_AC | Observed Peak Wind Gust at All Clear | mph | max | The maximum wind gust recorded by weather stations mapped to each circuit at the all-clear time. Please note, N/A as PG&E did not de-energize customers during the July 5 – 6 Weather Event.
Observed | Observed temp_f_AC | Observed Temperature at All Clear | degrees F | max | The maximum temperature recorded by weather stations mapped to each circuit at the all-clear time. Please note, N/A as PG&E did not de-energize customers during the July 5 – 6 Weather Event.
Observed | Observed RH_%_AC | Observed Relative Humidity at All Clear | % | min | Minimum relative humidity recorded by all weather stations mapped to each circuit at the all-clear time. Please note, N/A as PG&E did not de-energize customers during the July 5 – 6 Weather Event.
Observed | open_psps_tags | Open PSPS Qualified Tags | N/A | Yes/No During Event | PSPS-Qualified Tags include P1 (tree represents an immediate risk) and P2 (tree is damaged or diseased and could fall into nearby power lines) tree tags and Electric Corrective tags (Priority A - emergency, B - urgent, and E/F - risk-based).
Observed | Tx_impacts_yes_no | Impacted by Transmission | N/A | Yes/No During Event | Distribution lines that would have been de-energized due to de- energization of upstream transmission lines, regardless of whether those distribution lines would have also been de-energized due to direct distribution PSPS.
Forecast | ws_mph | Sustained wind speeds | mph | max | Sustained windspeed in miles per hour at 10 meters above ground level.
Forecast | ws_mph_50m | Sustained wind speeds at 50 m | mph | max | Sustained windspeed in miles per hour at 50 meters above ground level.
Forecast | wg_ec_mph | Forecasted Peak Wind Gust | mph | max | Wind gust in miles per hour at 10 meters above ground level.
Forecast | temp_2m_f | Temperature | degrees F | max | Temperature in Fahrenheit at 2 meters above ground level.
Forecast | flame_length_ft_2hr | Flame length | ft | max | Flame length in feet on fire front for first 2 hours of fire spread simulation from Technosylva.
Forecast | rate_of_spread_chhr_2hr | Rate of spread | chains/hr | max | Rate of fire spread in chains per hour for first 2 hours of fire spread simulation from Technosylva.
Forecast | area_acres_8hr | Acres burned | acres | max | Acres burned in the 8-hour fire spread simulation from Technosylva.
Forecast | rh_2m | Relative Humidity | % | min | Relative Humidity in percent at 2 meters above ground level.
Forecast | vpd2m_mb | Vapor Pressure Deficit | mb | max | Vapor Pressure Deficit in millibar at 2m above surface.
Agency | HWW | High Wind Warning | N/A | Yes/No during event | High Wind Warning from the Federal National Weather Service.
Agency | HWA | High Wind Advisory | N/A | Yes/No during event | High Wind Advisory from the Federal National Weather Service.
Agency | RFW | Red Flag Warning | N/A | Yes/No during event | Red Flag Warning from the Federal National Weather Service.
Agency | GACC_HighRisk | GACC High Risk | N/A | Yes/No during event | High Risk issued by the Federal North or South Operations Predictive Services.
Forecast | prob_cat | Fire Potential Index (FPI) | probability outputs | max | Fire Potential Index (FPI) Model Output - Probability of a catastrophic fire if an ignition were to occur. FPI component of the CFPD model.
Forecast | dfm_10hr | Dead Fuel Moisture Content 10 hrs | fuel moisture fraction | min | Dead Fuel Moisture in 10-hour fuel moisture class. Can be scaled to percentage by multiplying by 100.
Forecast | dfm_100hr | Dead Fuel Moisture Content 100 hrs | fuel moisture fraction | min | Dead Fuel Moisture in 100-hour moisture class. Can be scaled to percentage by multiplying by 100.
Forecast | dfm_1000hr | Dead Fuel Moisture Content 1000 hrs | fuel moisture fraction | min | Dead Fuel Moisture in 1000-hour moisture class. Can be scaled to percentage by multiplying by 100.
Forecast | lfm_herb | Live Fuel Moisture Content-herbacous | % | min | Live Fuel Moisture Percentage of herbaceous plant species. (% of species that is comprised of water)
Forecast | lfm_woody | Live Fuel Moisture Content-woody | % | min | Live Fuel Moisture Percentage of woody plant species. (% of species that is comprised of water)
Forecast | lfm_chamise_new | Live Fuel Moisture Content-shrub | % | min | Live Fuel Moisture Percentage of Chamise (shrub) plant species. (% of species that is comprised of water)
Forecast | sum_tree_ovr | Tree Overstike | ft | max | Sum of tree overstrike in a 2 x 2 km grid cell area in ft.
Forecast | prob_ignition | Ignition Probability Weather (IPW) Model Output | Probability | max | Ignition Probability Weather (IPW) Model Output - Probability of Ignition based on the probability of outages by cause. Ignition component of the CFPD model. Ignition Probability Weather Model - A model that provides estimates of the probability of an ignition given an outage on an hourly basis.
Forecast | cfpd | Catastrophic Fire Probability (CFPD) | Scaled Probability | max | The product of probability of catastrophic fire (Prob_Cat) and IPW - probability of ignition (prob_ignition). This product is called the (CFPD) Catastrophic Fire Probability distribution model. Scaled by 1000 to covert to an integer value.
Observed | Observed ws_mph | Observed Sustained Wind Speed during Event | mph | max | The maximum sustained wind speed recorded by weather stations mapped to each circuit from planned de-energization time to anticipated all-clear time.

## Table B-1
Table B-1. Public Safety Partners Contacted
Organization/Jurisdiction | Title | HFTD or HFRA Tier | Date/Time Contacted
Fresno County | County Administration | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | Board Chair | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | Chair of the Board | HFRA, Tier 1 | 07/03/2024 08:30 PDT
Fresno County | City Clerk | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | City Manager | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | Council Member | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | County Administrative Officer | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | County Executive Officer | HFRA, Tier 1 | 07/03/2024 08:30 PDT
Fresno County | Emergency | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | Emergency Management Specialist | HFRA, Tier 1 | 07/03/2024 08:30 PDT
Fresno County | Facility Services | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | Lieutenant | HFRA, Tier 1 | 07/03/2024 08:30 PDT
Fresno County | MHOAC | HFRA, Tier 1 | 07/03/2024 08:30 PDT
Fresno County | Mayor | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | Mayor Pro Tem | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | OES Director of Emergency Services | HFRA, Tier 1 | 07/03/2024 08:30 PDT
Fresno County | Sheriff | HFRA, Tier 1 | 07/03/2024 08:36 PDT
Fresno County | Staff Analyst | HFRA, Tier 1 | 07/03/2024 08:30 PDT
Monterey County | City Administration | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County | Board Chair | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County | Board Member | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County | County Supervisor - District 2 | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County | Duty Officer | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County | Emergency Services Coordinator | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County | Emergency Services Planner | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County | Fire Chief | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County | General | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County | MHOAC | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County | OES Director | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County | On Call contact | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County | Sheriff | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County | Sheriff/Coroner | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County | Supervisor | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County | Unit Chief | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County CCA | General | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County Communication Facility | American Tower Corporation | Tier 2 | 07/03/2024 08:28 PDT
Monterey County Communication Facility | AT&T (New Cingular Wireless) | Tier 2 | 07/03/2024 08:19 PDT
Monterey County Communication Facility | AT&T Mobility LLC | Tier 2 | 07/03/2024 08:19 PDT
Monterey County Communication Facility | AT&T Services Inc | HFRA, Tier 2 | 07/03/2024 08:19 PDT
Monterey County Communication Facility | Charter Communications Holding Company LLC | HFRA, Tier 2 | 07/03/2024 08:28 PDT
Monterey County Communication Facility | Cingular Wireless Services, Inc | HFRA | 07/03/2024 08:19 PDT
Monterey County Communication Facility | Crown Castle International | Tier 2 | 07/03/2024 08:28 PDT
Monterey County Communication Facility | Dept of The Army | Tier 2 | 07/03/2024 08:28 PDT
Monterey County Communication Facility | Frontier Communications Corporation Dip | HFRA, Tier 2 | 07/03/2024 08:28 PDT
Monterey County Communication Facility | Sprint Corporation | HFRA, Tier 2 | 07/03/2024 08:19 PDT
Monterey County Communication Facility | Sprint Nextel Corporation | HFRA, Tier 2 | 07/03/2024 08:28 PDT
Monterey County Communication Facility | T Mobile West A Delaware Corp | HFRA | 07/03/2024 08:28 PDT
Monterey County Communication Facility | T-Mobile West LLC | HFRA | 07/03/2024 08:28 PDT
Monterey County Communication Facility | Verizon | HFRA, Tier 2 | 07/03/2024 08:19 PDT
Monterey County Emergency Services Facility | California Department Of Forestry | Tier 2 | 07/03/2024 08:28 PDT
Monterey County Emergency Services Facility | South Monterey County Fpd | Tier 2 | 07/03/2024 08:28 PDT
Monterey County Other Facility | Crown Castle USA Inc | HFRA, Tier 2 | 07/03/2024 08:28 PDT
Monterey County Other Facility | Department of The Army | HFRA, Tier 2 | 07/03/2024 08:28 PDT
Monterey County Other Facility | Dept of The Army | HFRA, Tier 2 | 07/03/2024 08:28 PDT
MONTEREY County Water And Waste Water Facility | California Department of Forestry | HFRA | 07/03/2024 08:28 PDT
MONTEREY County Water And Waste Water Facility | Dept of The Army | Tier 2 | 07/03/2024 08:28 PDT
MONTEREY County Water And Waste Water Facility | San Lucas Wastewater Treatment Facility | HFRA | 07/03/2024 08:19 PDT
Monterey County King City | Council Member | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County King City | Councilmember | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County King City | Dispatch | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County King City | Fire Chief | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County King City | Fire Department Admin. Assist. | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County King City | Mayor | HFRA, Tier 2 | 07/03/2024 08:36 PDT
Monterey County King City | Mayor Pro Tem | HFRA, Tier 2 | 07/03/2024 08:30 PDT
Monterey County Monterey | EMS | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Monterey | Chief Of Police | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Monterey | City Manager | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Monterey | Council Member | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Monterey | Division Chief | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Monterey | Emergency | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Monterey | Fire Chief | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Monterey | General | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Monterey | Mayor | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Monterey | Vice Mayor | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Soledad | Cal Fire Chief | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Soledad | Chief | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Soledad | Council Member | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Soledad | Councilmember | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Soledad | General | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Soledad | Interim City Manager/City Clerk | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Soledad | Mayor | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Soledad | Mayor Pro Tem | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Soledad | Mayor Pro Tempore | Tier 2 | 07/03/2024 08:30 PDT
Monterey County Soledad | Non-Emergency | Tier 2 | 07/03/2024 08:36 PDT
Monterey County Soledad | Public Works Director | Tier 2 | 07/03/2024 08:30 PDT
San Benito County | County Administrative Officer | HFRA, Tier 2 | 07/03/2024 08:36 PDT
San Benito County | Emergency Manager | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Benito County | Emergency Services Specialist | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Benito County | Non-Emergency | HFRA, Tier 2 | 07/03/2024 08:36 PDT
San Benito County | Sheriff | HFRA, Tier 2 | 07/03/2024 08:36 PDT
San Benito County | Staff Analyst | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Benito County | Supervisor | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Benito County CCA | General | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Benito County Communication Facility | AT&T Services Inc | HFRA, Tier 2 | 07/03/2024 08:19 PDT
San Benito County Communication Facility | Pinnacles Tel Co | HFRA, Tier 2 | 07/03/2024 08:28 PDT
San Benito County Communication Facility | T-Mobile West Corporation | HFRA, Tier 2 | 07/03/2024 08:19 PDT
San Luis Obispo County | Duty Chief | HFRA, Tier 2 | 07/03/2024 08:36 PDT
San Luis Obispo County | Duty Officer | HFRA, Tier 2 | 07/03/2024 08:36 PDT
San Luis Obispo County | EMS Director | HFRA, Tier 2 | 07/03/2024 08:36 PDT
San Luis Obispo County | Emergency Services Manager | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Luis Obispo County | Fire Chief | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Luis Obispo County | General | HFRA, Tier 2 | 07/03/2024 08:36 PDT
San Luis Obispo County | OES Duty Officer | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Luis Obispo County | Watch Commander | HFRA, Tier 2 | 07/03/2024 08:36 PDT
San Luis Obispo County CCA | General | HFRA, Tier 2 | 07/03/2024 08:30 PDT
San Luis Obispo County Communication Facility | AT&T Mobility LLC | Tier 2 | 07/03/2024 08:19 PDT
San Luis Obispo County Communication Facility | AT&T Services Inc | Tier 2 | 07/03/2024 08:19 PDT
San Luis Obispo County Communication Facility | AT&T Wireless Service LLC | HFRA, Tier 2 | 07/03/2024 08:19 PDT
San Luis Obispo County Communication Facility | Charter Communications Holding Company LLC | Tier 2 | 07/03/2024 08:28 PDT
San Luis Obispo County Communication Facility | Frontier Communications Corporation Dip | Tier 2 | 07/03/2024 08:28 PDT
San Luis Obispo County Communication Facility | T-Mobile West LLC | Tier 2 | 07/03/2024 08:28 PDT
San Luis Obispo County Communication Facility | Verizon | HFRA, Tier 2 | 07/03/2024 08:28 PDT
San Luis Obispo County Other Facility | California National Guard | HFRA, Tier 2 | 07/03/2024 08:28 PDT
San Luis Obispo County Other Facility | Crown Castle USA Inc | HFRA, Tier 2 | 07/03/2024 08:28 PDT
San Luis Obispo County Water And Waste Water Facility | County Of San Luis Obispo | Tier 2 | 07/03/2024 08:19 PDT

## Table C-1
# | County | Site Name | Address | Operating Hours (PDT) | Total Visitors | Indoor / Outdoor | Amenities Provided
Day 1
2024-07-05
1 | Monterey | Salinas Valley Fairgrounds | 625 Division St. | 09:00 – 22:00 | 46 | Indoor | Wi-Fi, ADA Restrooms, Bottled Water, Device Charging, Snacks, Cooling, Seating, Ice
2 | Monterey | Soledad Community Center | 560 Walker Drive | 09:00 – 22:00 | 6 | Indoor | Wi-Fi, ADA Restrooms, Bottled Water, Device Charging, Snacks, Cooling, Seating, Ice
3 | Monterey | San Antonio Union School | 67550 Lockwood Jolon Road | 09:00 – 22:00 | 8 | Outdoor* | Wi-Fi, ADA Restrooms, Bottled Water, Device Charging, Snacks, Cooling, Seating, Ice
*Cooling and ice are not usual amenities at outdoor sites but due to extreme heat was provided.